## AUDIT PLAN_SUMMARY
PSS Audit Plan Summary_ TPNODL
Sl No | Circle | Division | Name of 33/11 kV S/S | PSS Capacity (In MVA) | Total Installed Capacity in MVA | Remarks | No of PTRx | No of 33KV Bays Including CRP | No of 11KV Bays Including CRP | Phase-1 | Phase-2 | Phase-3
1 | Balasore | SED Soro | Gandibeda(Jhatia) |  | 3.15 | NESCO | 1 | 1 | 2 | √
2 | Balasore | SED Soro | Gopinathpur |  | 6.6 | NESCO | 2 | 2 | 4 | √
3 | Balasore | SED Soro | Anantpur |  | 4.75 | NESCO | 2 | 0 | 3 | √
4 | Balasore | SED Soro | Gopalpur |  | 8.15 | NESCO | 2 | 1 | 3 | √
5 | Balasore | SED Soro | Bahanaga |  | 6.75 | NESCO | 3 | 6 | 8 | √
6 | Balasore | SED Soro | Soro chhaka college |  | 13 | NESCO | 2 | 2 | 6 | √
7 | Balasore | SED Soro | Khaira |  | 6.3 | NESCO | 2 | 5 | 7 | √
8 | Balasore | SED Soro | Dungura |  | 6.6 | NESCO | 2 | 1 | 5 | √
9 | Balasore | SED Soro | Oupada |  | 4.75 | NESCO | 2 | 2 | 3 | √
10 | Balasore | SED Soro | Markona |  | 13.15 | NESCO | 3 | 4 | 10 | √
11 | Balasore | SED Soro | Iswarpur (New) |  | 5 | RGGVY 11th Plan | 1 | 3 | 6 |  |  | √
12 | Balasore | SED Soro | Kupari |  | 10 | CAPEX | 2 | 2 | 6 |  |  | √
13 | Balasore | SED Soro | Jhadta(Bishnupur) |  | 10 | ODSSP | 2 | 4 | 7 |  |  | √
14 | Balasore | SED Soro | Pitakalia |  | 10 | ODSSP | 2 | 4 | 6 |  |  | √
15 | Balasore | SED Soro | Ada |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
16 | Balasore | SED Soro | Khantapada |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
17 | Balasore | SED Soro | Kacher pada |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
18 | Balasore | SED Soro | Balikhanda |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
19 | Balasore | BED Balasore | Sovarampur |  | 10 | NESCO | 2 | 4 | 3 | √
20 | Balasore | BED Balasore | City S/S |  | 33.5 | NESCO | 4 | 9 | 6 | √
21 | Balasore | BED Balasore | Gopalgaon |  | 13 | NESCO | 2 | 4 | 4 | √
22 | Balasore | BED Balasore | Ganeshwarpur |  | 15 | NESCO | 3 | 4 | 5 | √
23 | Balasore | BED Balasore | Dighirahania |  | 13.15 | NESCO | 3 | 3 | 5 | √
24 | Balasore | BED Balasore | Chandipur |  | 6.3 | NESCO | 2 | 1 | 2 | √
25 | Balasore | BED Balasore | Rameswar Mandir |  | 10 | ODSSP GIS | 2 | 4 | 6 |  |  | √
26 | Balasore | BED Balasore | Swadhinpadia |  | 16 | ODSSP | 2 | 3 | 6 |  |  | √
27 | Balasore | CED Balasore | Srijang |  | 6.6 | NESCO | 2 | 1 | 4 | √
28 | Balasore | CED Balasore | Saragaon |  | 8.15 | NESCO | 2 | 2 | 2 | √
29 | Balasore | CED Balasore | Remuna |  | 10 | NESCO | 2 | 5 | 7 | √
30 | Balasore | CED Balasore | Mitrapur |  | 8.15 | NESCO | 2 | 1 | 3 | √
31 | Balasore | CED Balasore | Sergarh |  | 10 | NESCO | 2 | 4 | 3 | √
32 | Balasore | CED Balasore | Nilgiri |  | 10 | NESCO | 2 | 4 | 4 | √
33 | Balasore | CED Balasore | Bhalkasuni(B'pur) |  | 6.3 | NESCO | 2 | 3 | 2 | √
34 | Balasore | CED Balasore | Fuladi |  | 5 | NESCO | 1 | 3 | 3 | √
35 | Balasore | CED Balasore | Odangi |  | 5 | NESCO | 1 | 1 | 1 | √
36 | Balasore | CED Balasore | Rupsa |  | 13.15 | NESCO | 3 | 3 | 3 | √
37 | Balasore | CED Balasore | Nocci, Somanathpur |  | 5 | NESCO | 1 | 2 | 4 | √
38 | Balasore | CED Balasore | Ajodhya |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
39 | Balasore | CED Balasore | Rasalpur |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
40 | Balasore | CED Balasore | Durgadevee |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
41 | Balasore | CED Balasore | Berhampur |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
42 | Balasore | BTED Basta | Basta |  | 10 | NESCO | 2 | 3 | 5 | √
43 | Balasore | BTED Basta | Rajghat |  | 6.3 | NESCO | 2 | 6 | 6 | √
44 | Balasore | BTED Basta | Jamsuli |  | 8.15 | NESCO | 2 | 2 | 3 | √
45 | Balasore | BTED Basta | Langaleswar |  | 17.75 | NESCO | 4 | 2 | 5 | √
46 | Balasore | BTED Basta | Baliapal |  | 11.3 | NESCO | 3 | 5 | 3 | √
47 | Balasore | BTED Basta | Sitadiha |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
48 | Balasore | BTED Basta | Kalipada |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
49 | Balasore | BTED Basta | Kusudiha |  | 6.3 | ODSSP | 2 | 4 | 6 |  |  | √
50 | Balasore | JED Jaleswar | Jaleswar |  | 15 | NESCO | 3 | 2 | 5 | √
51 | Balasore | JED Jaleswar | Hatigarh |  | 8.15 | NESCO | 2 | 4 | 8 | √
52 | Balasore | JED Jaleswar | Nampo |  | 9.45 | NESCO | 3 | 4 | 8 | √
53 | Balasore | JED Jaleswar | Kamarda |  | 13.15 | NESCO | 3 | 4 | 3 | √
54 | Balasore | JED Jaleswar | Dehurda |  | 9.75 | NESCO | 3 | 6 | 7 | √
55 | Balasore | JED Jaleswar | Jagannathpur |  | 11.3 | NESCO | 3 | 3 | 6 | √
56 | Balasore | JED Jaleswar | Bhogarai |  | 8.15 | NESCO | 2 | 1 | 2 | √
57 | Balasore | JED Jaleswar | Teghari |  | 3.15 | NESCO | 1 | 0 | 1 | √
58 | Balasore | JED Jaleswar | Shyamnagar |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
59 | Balasore | JED Jaleswar | Mahagab |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
60 | Balasore | JED Jaleswar | Bartana |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
61 | Jajpur | JRED Jajpur | Chorda |  | 23 | NESCO | 3 | 3 | 6 | √
62 | Jajpur | JRED Jajpur | Dala |  | 13.15 | NESCO | 3 | 2 | 4 | √
63 | Jajpur | JRED Jajpur | Duburi |  | 6.3 | NESCO | 2 | 5 | 6 | √
64 | Jajpur | JRED Jajpur | Dangadi |  | 8 | NESCO | 1 | 0 | 2 | √
65 | Jajpur | JRED Jajpur | Sukinda |  | 11.3 | NESCO | 3 | 5 | 7 | √
66 | Jajpur | JRED Jajpur | Haripur |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
67 | Jajpur | JRED Jajpur | Panikoili |  | 11.3 | NESCO | 3 | 4 | 10 | √
68 | Jajpur | JRED Jajpur | Dhabalagiri |  | 5 | NESCO | 1 | 1 | 3 | √
69 | Jajpur | JRED Jajpur | Tamka |  | 5 | NESCO | 1 | 1 | 3 | √
70 | Jajpur | JRED Jajpur | Salakana |  | 10 | NESCO | 2 | 2 | 5 | √
71 | Jajpur | JRED Jajpur | Ragadi |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
72 | Jajpur | JRED Jajpur | Marthapur |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
73 | Jajpur | JRED Jajpur | Mantira |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
74 | Jajpur | JRED Jajpur | Damodarpur |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
75 | Jajpur | JRED Jajpur | Vyasasarobar |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
76 | Jajpur | JRED Jajpur | Fire Station |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
77 | Jajpur | KED Kuakhia | Neulpur |  | 8.2 | NESCO | 3 | 1 | 3 | √
78 | Jajpur | KED Kuakhia | Jaraka |  | 13.15 | NESCO | 3 | 2 | 6 | √
79 | Jajpur | KED Kuakhia | Kabatbandha(Balarampur) |  | 9.75 | NESCO | 3 | 1 | 6 | √
80 | Jajpur | KED Kuakhia | Chadheidhara |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
81 | Jajpur | KED Kuakhia | Aruha |  | 15 | NESCO | 3 | 4 | 6 | √
82 | Jajpur | KED Kuakhia | Kuakahia |  | 10 | NESCO | 2 | 2 | 5 | √
83 | Jajpur | KED Kuakhia | Barabati |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
84 | Jajpur | KED Kuakhia | Mathasahi |  | 11.3 | NESCO | 3 | 4 | 5 | √
85 | Jajpur | KED Kuakhia | Sujanpur |  | 10 | NESCO | 2 | 2 | 5 | √
86 | Jajpur | KED Kuakhia | Bari |  | 13.15 | NESCO | 3 | 5 | 7 | √
87 | Jajpur | KED Kuakhia | Ratnagiri |  | 5 | NESCO | 1 | 2 | 4 | √
88 | Jajpur | JTED Jajpur | Mansada |  | 18.15 | NESCO | 4 | 5 | 9 | √
89 | Jajpur | JTED Jajpur | Jajpur Town |  | 21 | NESCO | 3 | 3 | 11 | √
90 | Jajpur | JTED Jajpur | Mahinda |  | 6.6 | NESCO | 2 | 2 | 5 | √
91 | Jajpur | JTED Jajpur | Baulanga |  | 15 | NESCO | 3 | 4 | 8 | √
92 | Jajpur | JTED Jajpur | Basantipadia |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
93 | Jajpur | JTED Jajpur | Dhamdhada |  | 5 | RGGVY 11th Plan | 1 | 1 | 4 |  |  | √
94 | Jajpur | JTED Jajpur | Dasarthpur (New S/S) |  | 10 | RGGVY 11th Plan | 2 | 3 | 5 |  |  | √
95 | Bhadrak | BNED Bhadrak | Tahasil Chhak,Bdk |  | 20.5 | NESCO | 2 | 3 | 7 | √
96 | Bhadrak | BNED Bhadrak | Power House,Bdk |  | 23 | NESCO | 4 | 3 | 11 | √
97 | Bhadrak | BNED Bhadrak | Tihidi (Nandapur) |  | 21 | NESCO | 3 | 5 | 9 | √
98 | Bhadrak | BNED Bhadrak | Jasipur(Bhadrak) |  | 6.6 | NESCO | 2 | 3 | 6 | √
99 | Bhadrak | BNED Bhadrak | Chandabali |  | 13.15 | NESCO | 3 | 5 | 8 | √
100 | Bhadrak | BNED Bhadrak | Rahanj |  | 10 | NESCO | 2 | 5 | 6 | √
101 | Bhadrak | BNED Bhadrak | Basudevpur |  | 23 | NESCO | 4 | 6 | 10 | √
102 | Bhadrak | BNED Bhadrak | Eram |  | 6.3 | NESCO | 2 | 3 | 8 | √
103 | Bhadrak | BNED Bhadrak | Dhamra |  | 14.6 | NESCO | 3 | 4 | 8 | √
104 | Bhadrak | BNED Bhadrak | Bideipur |  | 10 | CAPEX | 2 | 3 | 6 |  |  | √
105 | Bhadrak | BNED Bhadrak | Kundibag |  | 10 | ODSSP | 2 | 4 | 5 |  |  | √
106 | Bhadrak | BNED Bhadrak | Asura |  | 10 | ODSSP | 2 | 4 | 6 |  |  | √
107 | Bhadrak | BNED Bhadrak | Sindole |  | 6.3 | ODSSP | 2 | 3 | 6 |  |  | √
108 | Bhadrak | BNED Bhadrak | Matto |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
109 | Bhadrak | BNED Bhadrak | Bilana |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
110 | Bhadrak | BNED Bhadrak | Bijegangadharpur |  | 16 | ODSSP | 2 | 5 | 5 |  |  | √
111 | Bhadrak | BNED Bhadrak | Gadi |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
112 | Bhadrak | BSED Bhadrak | Satabhauni |  | 5 | NESCO | 1 | 3 | 3 | √
113 | Bhadrak | BSED Bhadrak | Nalang |  | 1.6 | NESCO | 1 | 0 | 0 | √
114 | Bhadrak | BSED Bhadrak | Barapada |  | 5 | NESCO | 1 | 1 | 3 | √
115 | Bhadrak | BSED Bhadrak | Bahudarada |  | 5 | NESCO | 1 | 1 | 3 | √
116 | Bhadrak | BSED Bhadrak | Randhia |  | 4.75 | NESCO | 2 | 5 | 6 | √
117 | Bhadrak | BSED Bhadrak | Asurali |  | 10 | NESCO | 2 | 6 | 6 | √
118 | Bhadrak | BSED Bhadrak | Dhamnagar chhak |  | 18 | NESCO | 3 | 4 | 9 | √
119 | Bhadrak | BSED Bhadrak | Dhamnagar |  | 10 | NESCO | 2 | 4 | 3 | √
120 | Bhadrak | BSED Bhadrak | Bisalpata(Agarpada) |  | 8.15 | NESCO | 2 | 3 | 7 | √
121 | Bhadrak | BSED Bhadrak | Betaligaon |  | 6.3 | NESCO | 2 | 3 | 5 | √
122 | Bhadrak | BSED Bhadrak | Chayallasingha |  | 6.35 | NESCO | 3 | 3 | 4 | √
123 | Bhadrak | BSED Bhadrak | Dahala (new) |  | 10 | RGGVY 11th Plan | 2 | 3 | 6 |  |  | √
124 | Bhadrak | BSED Bhadrak | Nilak |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
125 | Bhadrak | BSED Bhadrak | Manjuri Road |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
126 | Bhadrak | BSED Bhadrak | Malda |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
127 | Bhadrak | BSED Bhadrak | Raipitha |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
128 | Keonjhar | KED Keonjhar | Keonjhar | 1x8+1x7.5+2x5 | 25.5 | NESCO | 4 | 7 | 10 |  | √
129 | Keonjhar | KED Keonjhar | Judia | 1x3.15 | 3.15 | NESCO | 1 | 2 | 0 |  | √
130 | Keonjhar | KED Keonjhar | Banspal | 1x5+1x3.15 | 8.15 | NESCO | 2 | 2 | 4 |  | √
131 | Keonjhar | KED Keonjhar | Turumunga | 1x5+2x3.15 | 11.3 | NESCO | 3 | 4 | 4 |  | √
132 | Keonjhar | KED Keonjhar | Patna | 1x5+2x3.15 | 11.3 | NESCO | 3 | 3 | 6 |  | √
133 | Keonjhar | KED Keonjhar | Saharpada | 1x5+2x3.15 | 11.3 | NESCO | 3 | 4 | 4 |  | √
134 | Keonjhar | KED Keonjhar | Telkoi | 1x5+1x3.15 | 8.15 | RGGVY 11th Plan | 2 | 2 | 5 |  |  | √
135 | Keonjhar | KED Keonjhar | Naranpur | 2x8 | 16 | ODSSP | 2 | 3 | 6 |  |  | √
136 | Keonjhar | KED Keonjhar | Raisuan |  | 16 | ODSSP | 2 | 3 | 5 |  |  | √
137 | Keonjhar | KED Keonjhar | Suakati |  | 6.3 | ODSSP | 2 | 2 | 6 |  |  | √
138 | Keonjhar | KED Keonjhar | Musakhori |  | 3.15 | ODSSP | 1 | 3 | 5 |  |  | √
139 | Keonjhar | KED Keonjhar | Jyotipur |  | 6.3 | ODSSP | 2 | 3 | 6 |  |  | √
140 | Keonjhar | KED Keonjhar | Khireitangiri |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
141 | Keonjhar | KED Keonjhar | Kendeiposi |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
142 | Keonjhar | KED Keonjhar | Machhagarh |  | 6.3 | ODSSP | 2 | 3 | 5 |  |  | √
143 | Keonjhar | JED Joda | Jhumpura |  | 11.3 | NESCO | 3 | 5 | 6 |  | √
144 | Keonjhar | JED Joda | Remuli |  | 11.3 | NESCO | 3 | 6 | 7 |  | √
145 | Keonjhar | JED Joda | Champua |  | 8.15 | NESCO | 2 | 0 | 3 |  | √
146 | Keonjhar | JED Joda | Ukhunda |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
147 | Keonjhar | JED Joda | Jurudi |  | 13 | NESCO | 2 | 1 | 2 |  | √
148 | Keonjhar | JED Joda | Badbil( Sundara) |  | 24 | NESCO | 3 | 3 | 7 |  | √
149 | Keonjhar | JED Joda | Rugudi |  | 10 | NESCO | 2 | 2 | 2 |  | √
150 | Keonjhar | JED Joda | Bhadrasahi |  | 16 | ODSSP | 2 | 3 | 5 |  |  | √
151 | Keonjhar | JED Joda | Joda Hirakud Colony |  | 16 | ODSSP | 2 | 3 | 5 |  |  | √
152 | Keonjhar | JED Joda | Basudevpur |  | 10 | ODSSP | 2 | 4 | 6 |  |  | √
153 | Keonjhar | AED Anandapur | Dhenkikote |  | 11.3 | NESCO | 3 | 3 | 8 |  | √
154 | Keonjhar | AED Anandapur | Harichandanpur |  | 8.15 | NESCO | 2 | 3 | 10 |  | √
155 | Keonjhar | AED Anandapur | Ghatagaon |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
156 | Keonjhar | AED Anandapur | Ramchandrapur |  | 15 | NESCO | 3 | 4 | 8 |  | √
157 | Keonjhar | AED Anandapur | Ghasipura |  | 23 | NESCO | 3 | 2 | 6 |  | √
158 | Keonjhar | AED Anandapur | Orali |  | 13.15 | NESCO | 3 | 3 | 3 |  | √
159 | Keonjhar | AED Anandapur | Bidyadharpur |  | 8.15 | NESCO | 2 | 2 | 2 |  | √
160 | Keonjhar | AED Anandapur | Imfa area (NESCO trf) |  | 2 | NESCO | 1 | 0 | 0 |  | √
161 | Keonjhar | AED Anandapur | Anandpur |  | 10 | NESCO | 2 | 3 | 6 |  | √
162 | Keonjhar | AED Anandapur | Pipilia |  | 6.3 | ODSSP | 2 | 3 | 5 |  |  | √
163 | Keonjhar | AED Anandapur | Chhenapadi |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
164 | Keonjhar | AED Anandapur | Salabani |  | 10 | ODSSP | 2 | 3 | 5 |  |  | √
165 | Keonjhar | AED Anandapur | Dhenka |  | 6.3 | ODSSP | 2 | 3 | 5 |  |  | √
166 | Keonjhar | AED Anandapur | Rekutia |  | 6.3 | ODSSP | 2 | 3 | 5 |  |  | √
167 | Keonjhar | AED Anandapur | Sainkul |  | 6.3 | ODSSP | 2 | 4 | 5 |  |  | √
168 | Baripada | UED Udala | Sankerko |  | 6.6 | NESCO | 2 | 3 | 6 |  | √
169 | Baripada | UED Udala | Khunta |  | 13.15 | NESCO | 3 | 3 | 5 |  | √
170 | Baripada | UED Udala | Udala |  | 11.3 | NESCO | 3 | 6 | 7 |  | √
171 | Baripada | UED Udala | Kaptipada |  | 4.75 | NESCO | 2 | 0 | 2 |  | √
172 | Baripada | UED Udala | Manitri |  | 4.75 | NESCO | 2 | 4 | 7 |  | √
173 | Baripada | UED Udala | Badasahi |  | 6.35 | NESCO | 3 | 6 | 9 |  | √
174 | Baripada | UED Udala | Puruna Baripada |  | 8.2 | NESCO | 3 | 1 | 3 |  | √
175 | Baripada | UED Udala | Rathipur |  | 5 | RGGVY 11th Plan | 1 | 2 | 7 |  |  | √
176 | Baripada | UED Udala | Ambadali |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
177 | Baripada | UED Udala | Nududiha |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
178 | Baripada | UED Udala | Sarat |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
179 | Baripada | BPED Baripada | Chhancha |  | 15 | NESCO | 3 | 4 | 6 |  | √
180 | Baripada | BPED Baripada | Takatpur |  | 17.9 | NESCO | 5 | 4 | 6 |  | √
181 | Baripada | BPED Baripada | Stadium |  | 17.5 | NESCO | 2 | 4 | 6 |  | √
182 | Baripada | BPED Baripada | Shyamkhunta |  | 9.75 | NESCO | 3 | 4 | 3 |  | √
183 | Baripada | BPED Baripada | Kalabadia |  | 13.2 | NESCO | 4 | 6 | 7 |  | √
184 | Baripada | BPED Baripada | Jharpokharia |  | 10 | NESCO | 2 | 3 | 3 |  | √
185 | Baripada | BPED Baripada | Bangiriposi |  | 4.75 | NESCO | 2 | 4 | 4 |  | √
186 | Baripada | BPED Baripada | Kostha |  | 11.35 | NESCO | 4 | 3 | 6 |  | √
187 | Baripada | BPED Baripada | Betnati |  | 15 | NESCO | 3 | 8 | 6 |  | √
188 | Baripada | BPED Baripada | Baisinga |  | 7.9 | NESCO | 3 | 4 | 3 |  | √
189 | Baripada | BPED Baripada | Kochilakhunta |  | 6.6 | NESCO | 2 | 2 | 3 |  | √
190 | Baripada | BPED Baripada | Morda |  | 11.6 | NESCO | 3 | 3 | 8 |  | √
191 | Baripada | BPED Baripada | Rasgovindpur |  | 8.2 | NESCO | 3 | 2 | 4 |  | √
192 | Baripada | BPED Baripada | Chandua (New S/S) |  | 10 | RGGVY 11th Plan | 2 | 3 | 6 |  |  | √
193 | Baripada | BPED Baripada | Raghunnathpur |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
194 | Baripada | BPED Baripada | Bhaliasol |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
195 | Baripada | BPED Baripada | Randhasahi |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
196 | Baripada | BPED Baripada | Saragachida |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
197 | Baripada | BPED Baripada | Merda (Anla) |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
198 | Baripada | BPED Baripada | Amarda |  | 10 | ODSSP | 2 | 3 | 7 |  |  | √
199 | Baripada | BPED Baripada | Sapanichua |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
200 | Baripada | BPED Baripada | Sirsa |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
201 | Baripada | BPED Baripada | Salabanisahi |  | 10 | ODSSP | 2 | 4 | 6 |  |  | √
202 | Baripada | RED Rairangpur | Asonbani |  | 15 | NESCO | 3 | 1 | 3 |  | √
203 | Baripada | RED Rairangpur | Bisoi |  | 9.75 | NESCO | 3 | 2 | 5 |  | √
204 | Baripada | RED Rairangpur | Kuldiha |  | 8.15 | NESCO | 2 | 1 | 2 |  | √
205 | Baripada | RED Rairangpur | Kantabani |  | 13.15 | NESCO | 3 | 4 | 7 |  | √
206 | Baripada | RED Rairangpur | Bahalda |  | 4.75 | NESCO | 2 | 5 | 5 |  | √
207 | Baripada | RED Rairangpur | Badampahar |  | 9.75 | NESCO | 3 | 2 | 4 |  | √
208 | Baripada | RED Rairangpur | Jasipur(Rairangpur) |  | 11.3 | NESCO | 3 | 2 | 3 |  | √
209 | Baripada | RED Rairangpur | Karanjia |  | 13.15 | NESCO | 3 | 6 | 6 |  | √
210 | Baripada | RED Rairangpur | Thakurmunda |  | 8.15 | NESCO | 2 | 2 | 4 |  | √
211 | Baripada | RED Rairangpur | Sukruli |  | 9.75 | NESCO | 3 | 6 | 7 |  | √
212 | Baripada | RED Rairangpur | Tiringi (New S/S) |  | 10 | RGGVY 11th Plan | 2 | 3 | 4 |  |  | √
213 | Baripada | RED Rairangpur | Bijatala |  | 3.15 | NESCO | 1 | 1 | 3 |  | √
214 | Baripada | RED Rairangpur | Ghagarbeda |  | 8.15 | NESCO | 2 | 3 | 4 |  | √
215 | Baripada | RED Rairangpur | Gorumahisani |  | 10 | ODSSP | 2 | 3 | 6 |  |  | √
216 | Baripada | RED Rairangpur | Angarapada |  | 6.3 | ODSSP | 2 | 3 | 6 |  |  | √
217 | Baripada | RED Rairangpur | Jamda |  | 8.15 | NESCO | 2 | 3 | 4 |  | √
[6 empty] | TOTAL | 488 | 672 | 1160
[7 empty] | PTR | 33 kV CB | 11 kV CB

## PHASE-1
List of TPNODL Substations (PSS) : Phase-1
No | Circle | Division | Name of 33/11 kV S/S | PSS Capacity ( MVA) | Total Installed Capacity (MVA) | Remarks | No of PTRx | No of 33KV Bays Including CRP | No of 11KV Bays Including CRP
1 | Balasore | SED Soro | Gandibeda(Jhatia) |  | 3.15 | NESCO | 1 | 1 | 2
2 | Balasore | SED Soro | Gopinathpur |  | 6.6 | NESCO | 2 | 2 | 4
3 | Balasore | SED Soro | Anantpur |  | 4.75 | NESCO | 2 | 0 | 3
4 | Balasore | SED Soro | Gopalpur |  | 8.15 | NESCO | 2 | 1 | 3
5 | Balasore | SED Soro | Bahanaga |  | 6.75 | NESCO | 3 | 6 | 8
6 | Balasore | SED Soro | Soro college |  | 13 | NESCO | 2 | 2 | 6
7 | Balasore | SED Soro | Khaira |  | 6.3 | NESCO | 2 | 5 | 7
8 | Balasore | SED Soro | Dungura |  | 6.6 | NESCO | 2 | 1 | 5
9 | Balasore | SED Soro | Oupada |  | 4.75 | NESCO | 2 | 2 | 3
10 | Balasore | SED Soro | Markona |  | 13.15 | NESCO | 3 | 4 | 10
11 | Balasore | BED Balasore | Sovarampur |  | 10 | NESCO | 2 | 4 | 3
12 | Balasore | BED Balasore | City S/S |  | 33.5 | NESCO | 4 | 9 | 6
13 | Balasore | BED Balasore | Gopalgaon |  | 13 | NESCO | 2 | 4 | 4
14 | Balasore | BED Balasore | Ganeswarpur |  | 15 | NESCO | 3 | 4 | 5
15 | Balasore | BED Balasore | Dighirahania |  | 13.15 | NESCO | 3 | 3 | 5
16 | Balasore | BED Balasore | Chandipur |  | 6.3 | NESCO | 2 | 1 | 2
17 | Balasore | CED Balasore | Srijang |  | 6.6 | NESCO | 2 | 1 | 4
18 | Balasore | CED Balasore | Saragaon |  | 8.15 | NESCO | 2 | 2 | 2
19 | Balasore | CED Balasore | Remuna |  | 10 | NESCO | 2 | 5 | 7
20 | Balasore | CED Balasore | Mitrapur |  | 8.15 | NESCO | 2 | 1 | 3
21 | Balasore | CED Balasore | Sergarh |  | 10 | NESCO | 2 | 4 | 3
22 | Balasore | CED Balasore | Nilgiri |  | 10 | NESCO | 2 | 4 | 4
23 | Balasore | CED Balasore | Bhalkasuni(B'pur) |  | 6.3 | NESCO | 2 | 3 | 2
24 | Balasore | CED Balasore | Fualdi |  | 5 | NESCO | 1 | 3 | 3
25 | Balasore | CED Balasore | Odangi |  | 5 | NESCO | 1 | 1 | 1
26 | Balasore | CED Balasore | Rupsa |  | 13.15 | NESCO | 3 | 3 | 3
27 | Balasore | CED Balasore | Nocci, Somanathpur |  | 5 | NESCO | 1 | 2 | 4
28 | Balasore | BTED Basta | Basta |  | 10 | NESCO | 2 | 3 | 5
29 | Balasore | BTED Basta | Rajghat |  | 6.3 | NESCO | 2 | 6 | 6
30 | Balasore | BTED Basta | Jamsuli |  | 8.15 | NESCO | 2 | 2 | 3
31 | Balasore | BTED Basta | Langaleswar |  | 17.75 | NESCO | 4 | 2 | 5
32 | Balasore | BTED Basta | Baliapal |  | 11.3 | NESCO | 3 | 5 | 3
33 | Balasore | JED Jaleswar | Jaleswar |  | 15 | NESCO | 3 | 2 | 5
34 | Balasore | JED Jaleswar | Hatigarh |  | 8.15 | NESCO | 2 | 4 | 8
35 | Balasore | JED Jaleswar | Nampo |  | 9.45 | NESCO | 3 | 4 | 8
36 | Balasore | JED Jaleswar | Kamarda |  | 13.15 | NESCO | 3 | 4 | 3
37 | Balasore | JED Jaleswar | Dehurda |  | 9.75 | NESCO | 3 | 6 | 7
38 | Balasore | JED Jaleswar | Jagannathpur |  | 11.3 | NESCO | 3 | 3 | 6
39 | Balasore | JED Jaleswar | Bhogarai |  | 8.15 | NESCO | 2 | 1 | 2
40 | Balasore | JED Jaleswar | Teghari |  | 3.15 | NESCO | 1 | 0 | 1
41 | Jajpur | JRED Jajpur | Chorda |  | 23 | NESCO | 3 | 3 | 6
42 | Jajpur | JRED Jajpur | Dala |  | 13.15 | NESCO | 3 | 2 | 4
43 | Jajpur | JRED Jajpur | Duburi |  | 6.3 | NESCO | 2 | 5 | 6
44 | Jajpur | JRED Jajpur | Dangadi |  | 8 | NESCO | 1 | 0 | 2
45 | Jajpur | JRED Jajpur | Sukinda |  | 11.3 | NESCO | 3 | 5 | 7
46 | Jajpur | JRED Jajpur | Panikoili |  | 11.3 | NESCO | 3 | 4 | 10
47 | Jajpur | JRED Jajpur | Dhabalagiri |  | 5 | NESCO | 1 | 1 | 3
48 | Jajpur | JRED Jajpur | Tamka |  | 5 | NESCO | 1 | 1 | 3
49 | Jajpur | JRED Jajpur | Salakana |  | 10 | NESCO | 2 | 2 | 5
50 | Jajpur | KED Kuakhia | Neulpur |  | 8.2 | NESCO | 3 | 1 | 3
51 | Jajpur | KED Kuakhia | Jaraka |  | 13.15 | NESCO | 3 | 2 | 6
52 | Jajpur | KED Kuakhia | Kabatbandha(Balarampur) |  | 9.75 | NESCO | 3 | 1 | 6
53 | Jajpur | KED Kuakhia | Aruha |  | 15 | NESCO | 3 | 4 | 6
54 | Jajpur | KED Kuakhia | Kuakahia |  | 10 | NESCO | 2 | 2 | 5
55 | Jajpur | KED Kuakhia | Mathasahi |  | 11.3 | NESCO | 3 | 4 | 5
56 | Jajpur | KED Kuakhia | Sujanpur |  | 10 | NESCO | 2 | 2 | 5
57 | Jajpur | KED Kuakhia | Bari |  | 13.15 | NESCO | 3 | 5 | 7
58 | Jajpur | KED Kuakhia | Ratnagiri |  | 5 | NESCO | 1 | 2 | 4
59 | Jajpur | JTED Jajpur | Mansada |  | 18.15 | NESCO | 4 | 5 | 9
60 | Jajpur | JTED Jajpur | Jajpur Town |  | 21 | NESCO | 3 | 3 | 11
61 | Jajpur | JTED Jajpur | Mainda |  | 6.6 | NESCO | 2 | 2 | 5
62 | Jajpur | JTED Jajpur | Baulang |  | 15 | NESCO | 3 | 4 | 8
63 | Bhadrak | BNED Bhadrak | Tahasil Chhak,Bdk |  | 20.5 | NESCO | 2 | 3 | 7
64 | Bhadrak | BNED Bhadrak | Power House,Bdk |  | 23 | NESCO | 4 | 3 | 11
65 | Bhadrak | BNED Bhadrak | Tihidi (Nandapur) |  | 21 | NESCO | 3 | 5 | 9
66 | Bhadrak | BNED Bhadrak | Jasipur(Bhadrak) |  | 6.6 | NESCO | 2 | 3 | 6
67 | Bhadrak | BNED Bhadrak | Chandabali |  | 13.15 | NESCO | 3 | 5 | 8
68 | Bhadrak | BNED Bhadrak | Rahanj |  | 10 | NESCO | 2 | 5 | 6
69 | Bhadrak | BNED Bhadrak | Basudevpur |  | 23 | NESCO | 4 | 6 | 10
70 | Bhadrak | BNED Bhadrak | Eram |  | 6.3 | NESCO | 2 | 3 | 8
71 | Bhadrak | BNED Bhadrak | Dhamra |  | 14.6 | NESCO | 3 | 4 | 8
72 | Bhadrak | BSED Bhadrak | Satabhauni |  | 5 | NESCO | 1 | 3 | 3
73 | Bhadrak | BSED Bhadrak | Nalang |  | 1.6 | NESCO | 1 | 0 | 0
74 | Bhadrak | BSED Bhadrak | Barapada |  | 5 | NESCO | 1 | 1 | 3
75 | Bhadrak | BSED Bhadrak | Bahudarada |  | 5 | NESCO | 1 | 1 | 3
76 | Bhadrak | BSED Bhadrak | Randhia |  | 4.75 | NESCO | 2 | 5 | 6
77 | Bhadrak | BSED Bhadrak | Asurali |  | 10 | NESCO | 2 | 6 | 6
78 | Bhadrak | BSED Bhadrak | Dhamnagar chhak |  | 18 | NESCO | 3 | 4 | 9
79 | Bhadrak | BSED Bhadrak | Dhamnagar |  | 10 | NESCO | 2 | 4 | 3
80 | Bhadrak | BSED Bhadrak | Bisalpata(Agarpada) |  | 8.15 | NESCO | 2 | 3 | 7
81 | Bhadrak | BSED Bhadrak | Betaligaon |  | 6.3 | NESCO | 2 | 3 | 5
82 | Bhadrak | BSED Bhadrak | Chayallasingha |  | 6.35 | NESCO | 3 | 3 | 4
[6 empty] | Total | 189 | 250 | 422
[7 empty] | PTR | 33 kV CB | 11 kV CB

## PHASE-2
List of TPNODL Substations (PSS) : Phase-2
No | Circle | Division | Name of 33/11 kV S/S | PSS Capacity (In MVA) | Total Installed Capacity in MVA | Remarks | No of PTRx | No of 33KV Bays Including CRP | No of 11KV Bays Including CRP
1 | Keonjhar | KED Keonjhar | Keonjhar | 1x8+1x7.5+2x5 | 25.5 | NESCO | 4 | 7 | 10
2 | Keonjhar | KED Keonjhar | Judia | 1x3.15 | 3.15 | NESCO | 1 | 2 | 0
3 | Keonjhar | KED Keonjhar | Banspal | 1x5+1x3.15 | 8.15 | NESCO | 2 | 2 | 4
4 | Keonjhar | KED Keonjhar | Turumunga | 1x5+2x3.15 | 11.3 | NESCO | 3 | 4 | 4
5 | Keonjhar | KED Keonjhar | Patna | 1x5+2x3.15 | 11.3 | NESCO | 3 | 3 | 6
6 | Keonjhar | KED Keonjhar | Saharpada | 1x5+2x3.15 | 11.3 | NESCO | 3 | 4 | 4
7 | Keonjhar | JED Joda | Jhumpura |  | 11.3 | NESCO | 3 | 5 | 6
8 | Keonjhar | JED Joda | Remuli |  | 11.3 | NESCO | 3 | 6 | 7
9 | Keonjhar | JED Joda | Champua |  | 8.15 | NESCO | 2 | 0 | 3
10 | Keonjhar | JED Joda | Jurudi |  | 13 | NESCO | 2 | 1 | 2
11 | Keonjhar | JED Joda | Badbil( Sundara) |  | 24 | NESCO | 3 | 3 | 7
12 | Keonjhar | JED Joda | Rugudi |  | 10 | NESCO | 2 | 2 | 2
13 | Keonjhar | AED Anandapur | Dhenkikote |  | 11.3 | NESCO | 3 | 3 | 8
14 | Keonjhar | AED Anandapur | Harichandanpur |  | 8.15 | NESCO | 2 | 3 | 10
15 | Keonjhar | AED Anandapur | Ramchandrapur |  | 15 | NESCO | 3 | 4 | 8
16 | Keonjhar | AED Anandapur | Ghasipura |  | 23 | NESCO | 3 | 2 | 6
17 | Keonjhar | AED Anandapur | Orali |  | 13.15 | NESCO | 3 | 3 | 3
18 | Keonjhar | AED Anandapur | Bidyadharpur |  | 8.15 | NESCO | 2 | 2 | 2
19 | Keonjhar | AED Anandapur | Imfa area (NESCO trf) |  | 2 | NESCO | 1 | 0 | 0
20 | Keonjhar | AED Anandapur | Anandpur |  | 10 | NESCO | 2 | 3 | 6
21 | Baripada | UED Udala | Sankerko |  | 6.6 | NESCO | 2 | 3 | 6
22 | Baripada | UED Udala | Khunta |  | 13.15 | NESCO | 3 | 3 | 5
23 | Baripada | UED Udala | Udala |  | 11.3 | NESCO | 3 | 6 | 7
24 | Baripada | UED Udala | Kaptipada |  | 4.75 | NESCO | 2 | 0 | 2
25 | Baripada | UED Udala | Manitri |  | 4.75 | NESCO | 2 | 4 | 7
26 | Baripada | UED Udala | Badasahi |  | 6.35 | NESCO | 3 | 6 | 9
27 | Baripada | UED Udala | Puruna Baripada |  | 8.2 | NESCO | 3 | 1 | 3
28 | Baripada | BPED Baripada | Chhancha |  | 15 | NESCO | 3 | 4 | 6
29 | Baripada | BPED Baripada | Takatpur |  | 17.9 | NESCO | 5 | 4 | 6
30 | Baripada | BPED Baripada | Stadium |  | 17.5 | NESCO | 2 | 4 | 6
31 | Baripada | BPED Baripada | Shyamkhunta |  | 9.75 | NESCO | 3 | 4 | 3
32 | Baripada | BPED Baripada | Kalabadia |  | 13.2 | NESCO | 4 | 6 | 7
33 | Baripada | BPED Baripada | Jharpokharia |  | 10 | NESCO | 2 | 3 | 3
34 | Baripada | BPED Baripada | Bangiriposi |  | 4.75 | NESCO | 2 | 4 | 4
35 | Baripada | BPED Baripada | Kostha |  | 11.35 | NESCO | 4 | 3 | 6
36 | Baripada | BPED Baripada | Betnati |  | 15 | NESCO | 3 | 8 | 6
37 | Baripada | BPED Baripada | Baisinga |  | 7.9 | NESCO | 3 | 4 | 3
38 | Baripada | BPED Baripada | Kochilakhunta |  | 6.6 | NESCO | 2 | 2 | 3
39 | Baripada | BPED Baripada | Morda |  | 11.6 | NESCO | 3 | 3 | 8
40 | Baripada | BPED Baripada | Rasgovindpur |  | 8.2 | NESCO | 3 | 2 | 4
41 | Baripada | RED Rairangpur | Asonbani |  | 15 | NESCO | 3 | 1 | 3
42 | Baripada | RED Rairangpur | Bisoi |  | 9.75 | NESCO | 3 | 2 | 5
43 | Baripada | RED Rairangpur | Kuldiha |  | 8.15 | NESCO | 2 | 1 | 2
44 | Baripada | RED Rairangpur | Kantabani |  | 13.15 | NESCO | 3 | 4 | 7
45 | Baripada | RED Rairangpur | Bahalda |  | 4.75 | NESCO | 2 | 5 | 5
46 | Baripada | RED Rairangpur | Badampahar |  | 9.75 | NESCO | 3 | 2 | 4
47 | Baripada | RED Rairangpur | Jasipur(Rairangpur) |  | 11.3 | NESCO | 3 | 2 | 3
48 | Baripada | RED Rairangpur | Karanjia |  | 13.15 | NESCO | 3 | 6 | 6
49 | Baripada | RED Rairangpur | Thakurmunda |  | 8.15 | NESCO | 2 | 2 | 4
50 | Baripada | RED Rairangpur | Sukruli |  | 9.75 | NESCO | 3 | 6 | 7
51 | Baripada | RED Rairangpur | Bijatala |  | 3.15 | NESCO | 1 | 1 | 3
52 | Baripada | RED Rairangpur | Ghagarbeda |  | 8.15 | NESCO | 2 | 3 | 4
53 | Baripada | RED Rairangpur | Jamda |  | 8.15 | NESCO | 2 | 3 | 4
[6 empty] | Total | 139 | 171 | 259
[7 empty] | PTR | 33 kV CB | 11 kV CB

## PHASE-3
List of TPNODL Substations (PSS) : Phase-3
No | Circle | Division | Name of 33/11 kV S/S | PSS Capacity (In MVA) | Total Installed Capacity in MVA | Remarks | No of PTRx | No of 33KV Bays Including CRP | No of 11KV Bays Including CRP
1 | Balasore | SED Soro | Iswarpur (New) |  | 5 | RGGVY 11th Plan | 1 | 3 | 6
2 | Balasore | SED Soro | Kupari |  | 10 | CAPEX | 2 | 2 | 6
3 | Balasore | SED Soro | Jhadta(Bishnupur) |  | 10 | ODSSP | 2 | 4 | 7
4 | Balasore | SED Soro | Pitakalia |  | 10 | ODSSP | 2 | 4 | 6
5 | Balasore | SED Soro | Ada |  | 10 | ODSSP | 2 | 3 | 7
6 | Balasore | SED Soro | Khantapada |  | 10 | ODSSP | 2 | 3 | 7
7 | Balasore | SED Soro | Kacher pada |  | 10 | ODSSP | 2 | 3 | 7
8 | Balasore | SED Soro | Balikhanda |  | 10 | ODSSP | 2 | 3 | 7
9 | Balasore | BED Balasore | Rameswar Mandir |  | 10 | ODSSP | 2 | 4 | 6
10 | Balasore | BED Balasore | Swadhinpadia |  | 16 | ODSSP | 2 | 3 | 6
11 | Balasore | CED Balasore | Ajodhya |  | 10 | ODSSP | 2 | 3 | 6
12 | Balasore | CED Balasore | Rasalpur |  | 10 | ODSSP | 2 | 3 | 6
13 | Balasore | CED Balasore | Durgadevee |  | 10 | ODSSP | 2 | 3 | 7
14 | Balasore | CED Balasore | Berhampur |  | 10 | ODSSP | 2 | 3 | 7
15 | Balasore | BTED Basta | Similia |  | 10 | ODSSP | 2 | 3 | 6
16 | Balasore | BTED Basta | Kalipada |  | 10 | ODSSP | 2 | 3 | 5
17 | Balasore | BTED Basta | Kusudiha |  | 6.3 | ODSSP | 2 | 4 | 6
18 | Balasore | JED Jaleswar | Shyamnagar |  | 10 | ODSSP | 2 | 3 | 5
19 | Balasore | JED Jaleswar | Mahagab |  | 10 | ODSSP | 2 | 3 | 5
20 | Balasore | JED Jaleswar | Bartana |  | 10 | ODSSP | 2 | 3 | 7
21 | Jajpur | JRED Jajpur | Haripur |  | 10 | ODSSP | 2 | 3 | 5
22 | Jajpur | JRED Jajpur | Ragadi |  | 10 | ODSSP | 2 | 3 | 5
23 | Jajpur | JRED Jajpur | Marthapur |  | 10 | ODSSP | 2 | 3 | 5
24 | Jajpur | JRED Jajpur | Mantira |  | 10 | ODSSP | 2 | 3 | 7
25 | Jajpur | JRED Jajpur | Damodarpur |  | 10 | ODSSP | 2 | 3 | 7
26 | Jajpur | JRED Jajpur | Vyasasarobar |  | 10 | ODSSP | 2 | 3 | 7
27 | Jajpur | JRED Jajpur | Fire Station |  | 10 | ODSSP | 2 | 3 | 7
28 | Jajpur | KED Kuakhia | Chadheidhara |  | 10 | ODSSP | 2 | 3 | 5
29 | Jajpur | KED Kuakhia | Barabati |  | 10 | ODSSP | 2 | 3 | 6
30 | Jajpur | JTED Jajpur | Basantipadia |  | 10 | ODSSP | 2 | 3 | 5
31 | Jajpur | JTED Jajpur | Dhamdhada |  | 5 | RGGVY 11th Plan | 1 | 1 | 4
32 | Jajpur | JTED Jajpur | Dasarthpur (New S/S) |  | 10 | RGGVY 11th Plan | 2 | 3 | 5
33 | Bhadrak | BNED Bhadrak | Bideipur |  | 10 | CAPEX | 2 | 3 | 6
34 | Bhadrak | BNED Bhadrak | Kundibag |  | 10 | ODSSP | 2 | 4 | 5
35 | Bhadrak | BNED Bhadrak | Asura |  | 10 | ODSSP | 2 | 4 | 6
36 | Bhadrak | BNED Bhadrak | Sindole |  | 6.3 | ODSSP | 2 | 3 | 6
37 | Bhadrak | BNED Bhadrak | Matto |  | 10 | ODSSP | 2 | 3 | 6
38 | Bhadrak | BNED Bhadrak | Bilana |  | 10 | ODSSP | 2 | 3 | 5
39 | Bhadrak | BNED Bhadrak | Bijegangadharpur |  | 16 | ODSSP | 2 | 5 | 5
40 | Bhadrak | BNED Bhadrak | Gadi |  | 10 | ODSSP | 2 | 3 | 5
41 | Bhadrak | BSED Bhadrak | Dahala (new) |  | 10 | RGGVY 11th Plan | 2 | 3 | 6
42 | Bhadrak | BSED Bhadrak | Nilak |  | 10 | ODSSP | 2 | 3 | 6
43 | Bhadrak | BSED Bhadrak | Manjuri Road |  | 10 | ODSSP | 2 | 3 | 6
44 | Bhadrak | BSED Bhadrak | Malda |  | 10 | ODSSP | 2 | 3 | 6
45 | Bhadrak | BSED Bhadrak | Raipitha |  | 10 | ODSSP | 2 | 3 | 5
46 | Keonjhar | KED Keonjhar | Telkoi | 1x5+1x3.15 | 8.15 | RGGVY 11th Plan | 2 | 2 | 5
47 | Keonjhar | KED Keonjhar | Naranpur | 2x8 | 16 | ODSSP | 2 | 3 | 6
48 | Keonjhar | KED Keonjhar | Raisuan |  | 16 | ODSSP | 2 | 3 | 5
49 | Keonjhar | KED Keonjhar | Suakati |  | 6.3 | ODSSP | 2 | 2 | 6
50 | Keonjhar | KED Keonjhar | Musakhori |  | 3.15 | ODSSP | 1 | 3 | 5
51 | Keonjhar | KED Keonjhar | Jyotipur |  | 6.3 | ODSSP | 2 | 3 | 6
52 | Keonjhar | KED Keonjhar | Khireitangiri |  | 10 | ODSSP | 2 | 3 | 6
53 | Keonjhar | KED Keonjhar | Kendeiposi |  | 10 | ODSSP | 2 | 3 | 5
54 | Keonjhar | KED Keonjhar | Machhagarh |  | 6.3 | ODSSP | 2 | 3 | 5
55 | Keonjhar | JED Joda | Ukhunda |  | 10 | ODSSP | 2 | 3 | 6
56 | Keonjhar | JED Joda | Bhadrasahi |  | 16 | ODSSP | 2 | 3 | 5
57 | Keonjhar | JED Joda | Joda Hirakud Colony |  | 16 | ODSSP | 2 | 3 | 5
58 | Keonjhar | JED Joda | Basudevpur |  | 10 | ODSSP | 2 | 4 | 6
59 | Keonjhar | AED Anandapur | Ghatagaon |  | 10 | ODSSP | 2 | 3 | 6
60 | Keonjhar | AED Anandapur | Pipilia |  | 6.3 | ODSSP | 2 | 3 | 5
61 | Keonjhar | AED Anandapur | Chhenapadi |  | 10 | ODSSP | 2 | 3 | 6
62 | Keonjhar | AED Anandapur | Salabani |  | 10 | ODSSP | 2 | 3 | 5
63 | Keonjhar | AED Anandapur | Dhenka |  | 6.3 | ODSSP | 2 | 3 | 5
64 | Keonjhar | AED Anandapur | Rekutia |  | 6.3 | ODSSP | 2 | 3 | 5
65 | Keonjhar | AED Anandapur | Sainkul |  | 6.3 | ODSSP | 2 | 4 | 5
66 | Baripada | UED Udala | Rathipur |  | 5 | RGGVY 11th Plan | 1 | 2 | 7
67 | Baripada | UED Udala | Ambadali |  | 10 | ODSSP | 2 | 3 | 7
68 | Baripada | UED Udala | Nududiha |  | 10 | ODSSP | 2 | 3 | 7
69 | Baripada | UED Udala | Sarat |  | 10 | ODSSP | 2 | 3 | 6
70 | Baripada | BPED Baripada | Chandua (New S/S) |  | 10 | RGGVY 11th Plan | 2 | 3 | 6
71 | Baripada | BPED Baripada | Raghunnathpur |  | 10 | ODSSP | 2 | 3 | 6
72 | Baripada | BPED Baripada | Bhaliasol |  | 10 | ODSSP | 2 | 3 | 6
73 | Baripada | BPED Baripada | Randhasahi |  | 10 | ODSSP | 2 | 3 | 6
74 | Baripada | BPED Baripada | Saragachida |  | 10 | ODSSP | 2 | 3 | 7
75 | Baripada | BPED Baripada | Merda (Anla) |  | 10 | ODSSP | 2 | 3 | 6
76 | Baripada | BPED Baripada | Amarda |  | 10 | ODSSP | 2 | 3 | 7
77 | Baripada | BPED Baripada | Sapanichua |  | 10 | ODSSP | 2 | 3 | 6
78 | Baripada | BPED Baripada | Sirsa |  | 10 | ODSSP | 2 | 3 | 6
79 | Baripada | BPED Baripada | Salabanisahi |  | 10 | ODSSP | 2 | 4 | 6
80 | Baripada | RED Rairangpur | Tiringi (New S/S) |  | 10 | RGGVY 11th Plan | 2 | 3 | 4
81 | Baripada | RED Rairangpur | Gorumahisani |  | 10 | ODSSP | 2 | 3 | 6
82 | Baripada | RED Rairangpur | Angarapada |  | 6.3 | ODSSP | 2 | 3 | 6
[6 empty] | Total | 160 | 251 | 479
[7 empty] | PTR | 33 kV CB | 11 kV CB