## abst. for rev (2) (hidden)
Sl. No. | District | Estimated Cost with PSC Pole (incl. GST) in Rs. | Estimated Cost with Joist Pole (excl. GST) in Rs. | Estimated Cost with Joist Pole (incl. GST) in Rs. | Date of Tender | Packages as per tender
1 | Balasore | 25740284.4 | #REF! | #REF! | 26.8.2019 | 1 | Tender Cancelled due to legal dispute and Re-tendering to be done
2 | Balasore | 25012406.85 | #REF! | #REF! | 26.8.2019 | 2 | Tender Cancelled due to single bidding and Re-tendering to be done
3 | Mayurbhanj | 20834333.4 | #REF! | #REF! | 26.8.2019 | 4 | Tender Cancelled due to legal dispute and Re-tendering to be done
4 | Mayurbhanj | 35214017.6 | #REF! | #REF! | 26.8.2019 | 7 | Tender Cancelled due to legal dispute and Re-tendering to be done
5 | Mayurbhanj | 23556791.7 | #REF! | #REF! | 26.8.2019 | 8 | Tender Cancelled due to legal dispute and Re-tendering to be done
6 | Balasore | 19940586.95 | #REF! | #REF! | 6.10.2020 | 21 | Tender Cancelled due to single bidding and Re-tendering to be done
| Total | 150298420.9 | #REF! | #REF!
1 | Jajpur | 19735737.447 |  |  | 26.8.2019 | 3 | Tender Cancelled due to legal dispute and Re-tendering to be done
2 | Keonjhar | 34897230.2 |  |  | 26.8.2019 | 16 | Tender Cancelled due to legal dispute and Re-tendering to be done
| Total | 54632967.647

## Sheet1 (hidden)
Sl. No. | Description | No. of Package | WO Cost / Estimated Cost (Rs. In Cr)
1 | Total No. of packages for which tender floated | 31 | 87.45
2 | No. of Packages for which W.O. issued | 13 | 35.16
3 | No. of Packages for which Lottery completed for L1 bidder on 16.04.2021, LOA to be issued after receipt of APS from the L1 bidders | 6 | 19.3
4 | No. of Packages for which Lottery withheld due to non-availability of funds & LoA to be placed now | 4 | 10.2
5 | No. of Packages cancelled due to legal dispute | 6 | 15.99
6 | No. of Packages cancelled due to single bidding | 2 | 4.495
30.685

## abst.2 (hidden)
Tender Date | LT | 11KV |  |  | 33KV |  |  | Total No. of Package | Total No. of Package for which WO issued | Total No. of Package for which Single Bidding | Total No. of Package for which Legal dispute | Not opened due to un-avalability of funds | W.O. to be issued soon | Estimated Cost(Rs. In Cr) | W.O Cost(Rs. In Cr)
| 9 Mtr | 9Mtr | 10mtr | 11mtr | 10mtr | 11mtr | 13mtr
26.8.2019 | PSC | PSC | PSC | PSC | PSC | PSC | PSC | 12 | 5 | 1 | 6 |  |  | 30.7 | 13.7 | Incl. GST
24.7.2020 | -- | -- | JOIST | --- | --- | --- | --- | 8 | 8 | 0 | 0 |  |  | 25.24 | 21.46 | Excl. GST
26.8.2020 (May) | PSC | PSC | Joist | Joist | -- | Joist | Joist | 5 | 0 | 0 | 0 | 0 | 5 | 15.8 |  | Excl. GST
26.8.2020 (BLS) | PSC | --- | --- | Joist | -- | -- | -- | 1 | 0 | 1 | 0 | 0 | 0 | 1.99 |  | Excl. GST
26.8.2020 (KJR) | Joist | --- | Joist | Joist | -- | -- | Joist | 5 | 0 | 0 | 0 | 4 | 1 | 13.7 |  | Excl. GST
Total | [7 empty] | 31 | 13 | 2 | 6 | 4 | 6 | 87.43 | 35.16

## cat-wise abstract (hidden)
Sl. No. | District | No. of location | LT Interposing Pole(9mtr) ( in No.) | 3-Ph LT AB Cable (3x50+1x35+1x16mm2) ( in Km) | Fixing of 16mm LT Stay ( in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station(in No.) | Spike(2nos. Per set per Pole) in No. | VCB |  | Estimated Cost in Rs.
[6 empty] | 9 mtr | 10 mtr | 11 mtr | 10 mtr | 11 mtr | 13 mtr | [5 empty] | 33KV | 11KV |  | Incl. /Excl. GST | Supports | Date of Tender | Packages as per tender | Name of the Contrcator | W.O. No. / Date | W.O. Cost in Rs. | Status
1 | Mayurbhanj | 9 | 20 | 1.2 | 11 | 0 | 75 | 0 | 0 | 0 | 0 | 16 | 57 | 35 | 93 | 62 | 0 | 0 | 28541512.4 | Incl. GST | PSC | 26.8.2019 | 5 | M/s Aadya Urja Solutions Pvt. Ltd | 2326/09.03.2021 | 24263140
2 | Mayurbhanj | 9 | 120 | 14.1 | 121 | 0 | 58 | 71 | 0 | 0 | 0 | 14.4 | 110 | 340 | 30 | 258 | 0 | 0 | 31615204.9 | Incl. GST | PSC | 26.8.2019 | 6 | M/s Aadya Urja Solutions Pvt. Ltd | 2327/09.03.2021 | 26876086
3 | Mayurbhanj | 28 | 276 | 10.1 | 109 | 0 | 537 | 78 | 0 | 0 | 40 | 1 | 213 | 807 | 10 | 1240 | 0 | 0 | 24537366.7 | Incl. GST | PSC | 26.8.2019 | 9 | M/s Aadya Urja Solutions Pvt. Ltd | 2328/09.03.2021 | 20859215.43
4 | Keonjhar | 54 |  |  |  |  | 162 | 0 | 0 | 0 | 0 | 22.53 | 69 | 389 | 15 | 324 | 0 | 0 | 35163786.96 | Excl. Tax | Joist | 24.7.2020 | 10 | Gayatri Agency | 3277/31.03.2021 | 29892735
5 | Keonjhar | 40 | 0 | 0 | 0 | 0 | 94 | 0 | 0 | 0 | 0 | 20.91 | 45 | 80 | 0 | 188 | 0 | 0 | 34162365.48 | Incl. GST | PSC | 26.8.2019 | 11 | M/s S.R. Electricals | 3071/24.03.2021 | 34093790
6 | Keonjhar | 29 | 0 | 0 | 0 | 0 | 137 | 0 | 0 | 0 | 0 | 19.09 | 37 | 208 | 22 | 274 | 0 | 0 | 29785614.88 | Excl. Tax | Joist | 24.7.2020 | 12 | M/s Aadya Urja Solutions Pvt. Ltd | 3276/31.03.2021 | 25320751
7 | Keonjhar | 7 | 0 | 0 | 0 | 0 | 139 | 0 | 0 | 0 | 0 | 19.8 | 20 | 14 | 0 | 278 | 0 | 0 | 30068577.6 | Excl. Tax | Joist | 24.7.2020 | 13 | M/s Aadya Urja Solutions Pvt. Ltd | 3278/31.03.2021 | 25561298.15
8 | Keonjhar | 8 | 0 | 0 | 0 | 0 | 101 | 0 | 0 | 0 | 0 | 19.8 | 18 | 16 | 0 | 202 | 0 | 0 | 28722039.6 | Excl. Tax | Joist | 24.7.2020 | 14 | M/s S.K.Mohapatra | 3246/31.03.2021 | 24416606
9 | Keonjhar | 120 | 0 | 0 | 0 | 0 | 257 | 0 | 0 | 0 | 0 | 17.61 | 94 | 966 | 34 | 514 | 0 | 0 | 33330658.52 | Excl. Tax | Joist | 24.7.2020 | 15 | M/s Ambika Agency | 3275/31.03.2021 | 28334393.21
10 | Keonjhar | 58 | 0 | 0 | 0 | 0 | 160 |  |  |  |  | 16.78 | 72 | 116 |  | 320 |  |  | 27236655 | Excl. Tax | Joist | 24.7.2020 | 17 | M/s S.K.Mohapatra | 3247/31.03.2021 | 23153880
11 | Keonjhar | 193 | 0 | 0 | 0 | 0 | 317 |  |  |  |  | 14.34 | 179 | 898 | 71 | 634 |  |  | 3200438.52 | Incl. GST | PSC | 26.8.2019 | 18 | M/s Gayatri Agency | 3051/24.03.2021 | 30939004 | Completed
12 | Keonjhar | 130 | 0 | 0 | 0 | 0 | 263 |  |  |  |  | 17.04 | 105 | 267 |  | 526 |  |  | 31454558 | Excl. Tax | Joist | 24.7.2020 | 19 | M/s Basanit Electricals & Construction | 3245/31.03.2021 | 26739519
13 | Keonjhar | 7 | 0 | 0 | 0 | 0 | 91 |  |  |  |  | 26.4 | 13 | 14 |  | 182 |  |  | 36714164 | Excl. Tax | Joist | 24.7.2020 | 20 | M/s Basanti Electricals & Construction | 3244/31.03.2021 | 31210710.7
| Total | 692 | 416 | 25.4 | 241 | 0 | 2391 | 149 | 0 | 0 | 40 | 225.7 | 1032 | 4150 | 275 | 5002 | 0 | 0 | 374532942.56 | [6 empty] | 351661128.49
Sl. No. | District | No. of location | LT Interposing Pole(9mtr) ( in No.) | 3-Ph LT AB Cable (3x50+1x35+1x16mm2) ( in Km) | Fixing of 16mm LT Stay ( in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station(in No.) | Spike(2nos. Per set per Pole) in No. | VCB |  | Estimated Cost in Rs.
[6 empty] | 9 mtr | 10 mtr | 11 mtr | 10 mtr | 11 mtr | 13 mtr | [5 empty] | 33KV | 11KV |  | Incl. /Excl. GST | Supports | Date of Tender | Packages as per tender | Name of the Contrcator | W.O. No. / Date | W.O. Cost in Rs. | Status
1 | Mayurbhanj | 32 | 81 | 1.4 | 34 | 39 | 172 | 82 | 0 | 0 | 0 | 13.5 | 115 | 190 | 47 | 380 | 0 | 3 | 29765903.2 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 22 |  |  |  | Lottery completed for L1 bidder on 16.04.2021, LOA to be issued after receopt of APS from the L1 bidders
2 | Mayurbhanj | 22 | 85 | 3.8 | 67 | 2 | 83 | 73 | 0 | 0 | 0 | 14 | 98 | 168 | 37 | 314 | 1 | 1 | 27054172.4 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 23 |  |  |  | Lottery completed for L1 bidder on 16.04.2021, LOA to be issued after receopt of APS from the L1 bidders
3 | Mayurbhanj | 40 | 73 | 9.55 | 21 | 103 | 73 | 22 | 0 | 38 | 0 | 18.46 | 62 | 88 | 137 | 180 | 0 | 0 | 33960527.87 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 24 |  |  |  | Lottery completed for L1 bidder on 16.04.2021, LOA to be issued after receopt of APS from the L1 bidders
4 | Mayurbhanj | 9 | 159 | 13.3 | 132 | 0 | 163 | 0 | 0 | 0 | 4 | 16.5 | 234 | 305 | 27 | 585 | 0 | 3 | 33836391.9 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 25 |  |  |  | Lottery completed for L1 bidder on 16.04.2021, LOA to be issued after receopt of APS from the L1 bidders
5 | Mayurbhanj | 21 | 303 | 22.55 | 142 | 0 | 272 | 106 | 0 | 40 | 0 | 7.9 | 147 | 392 | 34 | 784 | 0 | 2 | 33417994.95 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 26 |  |  |  | Lottery completed for L1 bidder on 16.04.2021, LOA to be issued after receopt of APS from the L1 bidders
6 | Keonjhar | 60 | 13 | 1 | 6 | 0 | 226 | 3 | 0 | 0 | 0 | 19.8815 | 37 | 239 | 0 | 472 | 0 | 2 | 35042346.558 | Excl. GST | Joist | 6.10.2020 | 27 |  |  |  | Lottery completed for L1 bidder on 16.04.2021 LOA to be issued after receipt of APS from the L1 bidders
| Total | 184 | 714 | 51.6 | 402 | 144 | 989 | 286 | 0 | 78 | 4 | 90.2415 | 693 | 1382 | 282 | 2715 | 1 | 11 | 193077336.878
Sl. No. | District | No. of location | LT Interposing Pole(9mtr) ( in No.) | 3-Ph LT AB Cable (3x50+1x35+1x16mm2) ( in Km) | Fixing of 16mm LT Stay ( in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station(in No.) | Spike(2nos. Per set per Pole) in No. | VCB |  | Estimated Cost in Rs.
[6 empty] | 9 mtr | 10 mtr | 11 mtr | 10 mtr | 11 mtr | 13 mtr | [5 empty] | 33KV | 11KV |  | Incl. /Excl. GST | Supports | Date of Tender | Packages as per tender | Name of the Contrcator | W.O. No. / Date | W.O. Cost in Rs. | Status
1 | Keonjhar | 31 | 21 | 0.44 | 5 | 0 | 228 | 0 | 0 | 15 | 0 | 18.12 | 23 | 264 | 34 | 456 | 0 | 0 | 33020899.56 | Excl. GST | Joist | 6.10.2020 | 28 |  |  |  | Technical and price bid evaluation completed. Lottery withheld due to non-availability of funds. LoA will be placed after receipt of funds
2 | Keonjhar | 32 | 0 | 0 | 0 | 0 | 172 | 0 | 0 | 15 | 0 | 17.16 | 47 | 187 | 0 | 344 | 0 | 0 | 28678710.12 | Excl. GST | Joist | 6.10.2020 | 29 |  |  |  | Technical and price bid evaluation completed. Lottery withheld due to non-availability of funds. LoA will be placed after receipt of funds
3 | Keonjhar | 15 | 3 | 0 | 0 | 0 | 144 | 0 | 0 | 8 | 0 | 16.5 | 34 | 155 | 0 | 304 | 0 | 0 | 26626059 | Excl. GST | Joist | 6.10.2020 | 30 |  |  |  | Technical and price bid evaluation completed. Lottery withheld due to non-availability of funds. LoA will be placed after receipt of funds
4 | Keonjhar | 31 | 192 | 34.678 | 192 | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 21 | 191 | 0 | 384 | 0 | 0 | 13688416.614 | Excl. GST | Joist | 6.10.2020 | 31 |  |  |  | Technical and price bid evaluation completed. Lottery withheld due to non-availability of funds. LoA will be placed after receipt of funds
| Total | 109 | 216 | 35.118 | 197 | 0 | 616 | 0 | 0 | 38 | 0 | 51.78 | 125 | 797 | 34 | 1488 | 0 | 0 | 102014085.294
Sl. No. | District | No. of location | LT Interposing Pole(9mtr) ( in No.) | 3-Ph LT AB Cable (3x50+1x35+1x16mm2) ( in Km) | Fixing of 16mm LT Stay ( in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station(in No.) | Spike(2nos. Per set per Pole) in No. | VCB |  | Estimated Cost in Rs.
[6 empty] | 9 mtr | 10 mtr | 11 mtr | 10 mtr | 11 mtr | 13 mtr | [5 empty] | 33KV | 11KV |  | Incl. /Excl. GST | Supports | Date of Tender | Packages as per tender | Name of the Contrcator | W.O. No. / Date | W.O. Cost in Rs. | Status
1 | Balasore | 16 | 72 | 12.6 | 35 | 0 | 0 | 145 | 0 | 0 | 0 | 11.65 | 90 | 217 | 13 | 217 | 0 | 0 | 25740284.4 | Incl. GST | PSC | 26.8.2019 | 1 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
2 | Balasore | 46 | 157 | 6.15 | 75 | 0 | 0 | 185 | 0 | 0 | 0 | 9.35 | 92 | 342 | 23 | 342 | 0 | 4 | 25012406.85 | Incl. GST | PSC | 26.8.2019 | 2 |  |  |  | Tender Cancelled due to single bidding and Re-tendering to be done
3 | Jajpur | 21 | 128 | 12.921 | 27 | 0 | 0 | 154 | 0 | 20 | 0 | 6.52 | 42 | 59 | 43 | 331 | 0 | 1 | 19735737.447 | Incl. GST | PSC | 26.8.2019 | 3 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
4 | Mayurbhanj | 22 | 120 | 8.2 | 82 | 0 | 247 | 5 | 0 | 11 | 0 | 6 | 138 | 296 | 52 | 500 | 0 | 1 | 20834333.4 | Incl. GST | PSC | 26.8.2019 | 4 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
5 | Mayurbhanj | 9 | 141 | 12.2 | 122 | 0 | 18 | 118 | 0 | 0 | 0 | 16.4 | 136 | 270 | 17 | 272 | 0 | 2 | 35214017.6 | Incl. GST | PSC | 26.8.2019 | 7 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
6 | Mayurbhanj | 22 | 346 | 9.1 | 120 | 0 | 435 | 45 | 0 | 150 | 0 | 1 | 208 | 916 | 17 | 1134 | 0 | 0 | 23556791.7 | Incl. GST | PSC | 26.8.2019 | 8 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
7 | Keonjhar | 40 | 0 | 0 | 0 | 0 | 180 | 0 | 0 | 0 | 0 | 20.15 | 68 | 80 | 2 | 360 | 0 | 0 | 34897230.2 | Incl. GST | PSC | 26.8.2019 | 16 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
8 | Balasore | 57 | 431 | 46.35 | 227 | 0 | 0 | 28 | 0 | 0 | 0 | 1.2 | 60 | 459 | 52 | 459 | 3 | 3 | 19940586.95 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 21 |  |  |  | Tender Cancelled due to single bidding and Re-tendering to be done
| Total | 233 | 1395 | 107.521 | 688 | 0 | 880 | 680 | 0 | 181 | 0 | 72.27 | 834 | 2639 | 219 | 3615 | 3 | 11 | 204931388.547
159978394.747
44952993.8

## abstract (hidden)
Package | District | No. of location | LT Interposing Pole(9mtr) ( in No.) | 3-Ph LT AB Cable (3x50+1x35+1x16mm2) ( in Km) | Fixing of 16mm LT Stay ( in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station(in No.) | Spike(2nos. Per set per Pole) in No. | VCB |  | Estimated Cost in Rs.
[6 empty] | 9 mtr | 10 mtr | 11 mtr | 10 mtr | 11 mtr | 13 mtr | [5 empty] | 33KV | 11KV |  | Incl. /Excl. GST | Supports | Date of Tender | Packages as per tender | Name of the Contrcator | W.O. No. / Date | W.O. Cost in Rs. | Status
1 | Balasore | 16 | 72 | 12.6 | 35 | 0 | 0 | 145 | 0 | 0 | 0 | 11.65 | 90 | 217 | 13 | 217 | 0 | 0 | 25740284.4 | Incl. GST | PSC | 26.8.2019 | 1 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
2 | Balasore | 46 | 157 | 6.15 | 75 | 0 | 0 | 185 | 0 | 0 | 0 | 9.35 | 92 | 342 | 23 | 342 | 0 | 4 | 25012406.85 | Incl. GST | PSC | 26.8.2019 | 2 |  |  |  | Tender Cancelled due to single bidding and Re-tendering to be done
3 | Jajpur | 21 | 128 | 12.921 | 27 | 0 | 0 | 154 | 0 | 20 | 0 | 6.52 | 42 | 59 | 43 | 331 | 0 | 1 | 19735737.447 | Incl. GST | PSC | 26.8.2019 | 3 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
4 | Mayurbhanj | 22 | 120 | 8.2 | 82 | 0 | 247 | 5 | 0 | 11 | 0 | 6 | 138 | 296 | 52 | 500 | 0 | 1 | 20834333.4 | Incl. GST | PSC | 26.8.2019 | 4 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
5 | Mayurbhanj | 9 | 20 | 1.2 | 11 | 0 | 75 | 0 | 0 | 0 | 0 | 16 | 57 | 35 | 93 | 62 | 0 | 0 | 28541512.4 | Incl. GST | PSC | 26.8.2019 | 5 | M/s Aadya Urja Solutions Pvt. Ltd | 2326/09.03.2021 | 24263140
6 | Mayurbhanj | 9 | 120 | 14.1 | 121 | 0 | 58 | 71 | 0 | 0 | 0 | 14.4 | 110 | 340 | 30 | 258 | 0 | 0 | 31615204.9 | Incl. GST | PSC | 26.8.2019 | 6 | M/s Aadya Urja Solutions Pvt. Ltd | 2327/09.03.2021 | 26876086
7 | Mayurbhanj | 9 | 141 | 12.2 | 122 | 0 | 18 | 118 | 0 | 0 | 0 | 16.4 | 136 | 270 | 17 | 272 | 0 | 2 | 35214017.6 | Incl. GST | PSC | 26.8.2019 | 7 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
8 | Mayurbhanj | 22 | 346 | 9.1 | 120 | 0 | 435 | 45 | 0 | 150 | 0 | 1 | 208 | 916 | 17 | 1134 | 0 | 0 | 23556791.7 | Incl. GST | PSC | 26.8.2019 | 8 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
9 | Mayurbhanj | 28 | 276 | 10.1 | 109 | 0 | 537 | 78 | 0 | 0 | 40 | 1 | 213 | 807 | 10 | 1240 | 0 | 0 | 24537366.7 | Incl. GST | PSC | 26.8.2019 | 9 | M/s Aadya Urja Solutions Pvt. Ltd | 2328/09.03.2021 | 20859215.43
10 | Keonjhar | 54 |  |  |  |  | 162 | 0 | 0 | 0 | 0 | 22.53 | 69 | 389 | 15 | 324 | 0 | 0 | 35163786.96 | Excl. Tax | Joist | 24.7.2020 | 10 | Gayatri Agency | 3277/31.03.2021 | 29892735
11 | Keonjhar | 40 | 0 | 0 | 0 | 0 | 94 | 0 | 0 | 0 | 0 | 20.91 | 45 | 80 | 0 | 188 | 0 | 0 | 34162365.48 | Incl. GST | PSC | 26.8.2019 | 11 | M/s S.R. Electricals | 3071/24.03.2021 | 34093790
12 | Keonjhar | 29 | 0 | 0 | 0 | 0 | 137 | 0 | 0 | 0 | 0 | 19.09 | 37 | 208 | 22 | 274 | 0 | 0 | 29785614.88 | Excl. Tax | Joist | 24.7.2020 | 12 | M/s Aadya Urja Solutions Pvt. Ltd | 3276/31.03.2021 | 25320751
13 | Keonjhar | 7 | 0 | 0 | 0 | 0 | 139 | 0 | 0 | 0 | 0 | 19.8 | 20 | 14 | 0 | 278 | 0 | 0 | 30068577.6 | Excl. Tax | Joist | 24.7.2020 | 13 | M/s Aadya Urja Solutions Pvt. Ltd | 3278/31.03.2021 | 25561298.15
14 | Keonjhar | 8 | 0 | 0 | 0 | 0 | 101 | 0 | 0 | 0 | 0 | 19.8 | 18 | 16 | 0 | 202 | 0 | 0 | 28722039.6 | Excl. Tax | Joist | 24.7.2020 | 14 | M/s S.K.Mohapatra | 3246/31.03.2021 | 24416606
15 | Keonjhar | 120 | 0 | 0 | 0 | 0 | 257 | 0 | 0 | 0 | 0 | 17.61 | 94 | 966 | 34 | 514 | 0 | 0 | 33330658.52 | Excl. Tax | Joist | 24.7.2020 | 15 | M/s Ambika Agency | 3275/31.03.2021 | 28334393.21
16 | Keonjhar | 40 | 0 | 0 | 0 | 0 | 180 | 0 | 0 | 0 | 0 | 20.15 | 68 | 80 | 2 | 360 | 0 | 0 | 34897230.2 | Incl. GST | PSC | 26.8.2019 | 16 |  |  |  | Tender Cancelled due to legal dispute and Re-tendering to be done
17 | Keonjhar | 58 | 0 | 0 | 0 | 0 | 160 |  |  |  |  | 16.78 | 72 | 116 |  | 320 |  |  | 27236655 | Excl. Tax | Joist | 24.7.2020 | 17 | M/s S.K.Mohapatra | 3247/31.03.2021 | 23153880
18 | Keonjhar | 193 | 0 | 0 | 0 | 0 | 317 |  |  |  |  | 14.34 | 179 | 898 | 71 | 634 |  |  | 3200438.52 | Incl. GST | PSC | 26.8.2019 | 18 | M/s Gayatri Agency | 3051/24.03.2021 | 30939004
19 | Keonjhar | 130 | 0 | 0 | 0 | 0 | 263 |  |  |  |  | 17.04 | 105 | 267 |  | 526 |  |  | 31454558 | Excl. Tax | Joist | 24.7.2020 | 19 | M/s Basanit Electricals & Construction | 3245/31.03.2021 | 26739519
20 | Keonjhar | 7 | 0 | 0 | 0 | 0 | 91 |  |  |  |  | 26.4 | 13 | 14 |  | 182 |  |  | 36714164 | Excl. Tax | Joist | 24.7.2020 | 20 | M/s Basanti Electricals & Construction | 3244/31.03.2021 | 31210710.7
21 | Balasore | 57 | 431 | 46.35 | 227 | 0 | 0 | 28 | 0 | 0 | 0 | 1.2 | 60 | 459 | 52 | 459 | 3 | 3 | 19940586.95 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 21 |  |  |  | Tender Cancelled due to single bidding and Re-tendering to be done
22 | Mayurbhanj | 32 | 81 | 1.4 | 34 | 39 | 172 | 82 | 0 | 0 | 0 | 13.5 | 115 | 190 | 47 | 380 | 0 | 3 | 29765903.2 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 22 |  |  |  | Lottery completed for L1 bidder on 16.04.2021, LOA to be issued after receopt of APS from the L1 bidders
23 | Mayurbhanj | 22 | 85 | 3.8 | 67 | 2 | 83 | 73 | 0 | 0 | 0 | 14 | 98 | 168 | 37 | 314 | 1 | 1 | 27054172.4 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 23 |  |  |  | Lottery completed for L1 bidder on 16.04.2021, LOA to be issued after receopt of APS from the L1 bidders
24 | Mayurbhanj | 40 | 73 | 9.55 | 21 | 103 | 73 | 22 | 0 | 38 | 0 | 18.46 | 62 | 88 | 137 | 180 | 0 | 0 | 33960527.87 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 24 |  |  |  | Lottery completed for L1 bidder on 16.04.2021, LOA to be issued after receopt of APS from the L1 bidders
25 | Mayurbhanj | 9 | 159 | 13.3 | 132 | 0 | 163 | 0 | 0 | 0 | 4 | 16.5 | 234 | 305 | 27 | 585 | 0 | 3 | 33836391.9 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 25 |  |  |  | Lottery completed for L1 bidder on 16.04.2021, LOA to be issued after receopt of APS from the L1 bidders
26 | Mayurbhanj | 21 | 303 | 22.55 | 142 | 0 | 272 | 106 | 0 | 40 | 0 | 7.9 | 147 | 392 | 34 | 784 | 0 | 2 | 33417994.95 | Excl. GST | LT-PSC/ 11KV- 9mtr PSC , others- Joist / 33KV - Joist | 6.10.2020 | 26 |  |  |  | Lottery completed for L1 bidder on 16.04.2021, LOA to be issued after receopt of APS from the L1 bidders
27 | Keonjhar | 60 | 13 | 1 | 6 | 0 | 226 | 3 | 0 | 0 | 0 | 19.8815 | 37 | 239 | 0 | 472 | 0 | 2 | 35042346.558 | Excl. GST | Joist | 6.10.2020 | 27 |  |  |  | Lottery completed for L1 bidder on 16.04.2021 LOA to be issued after receipt of APS from the L1 bidders
28 | Keonjhar | 31 | 21 | 0.44 | 5 | 0 | 228 | 0 | 0 | 15 | 0 | 18.12 | 23 | 264 | 34 | 456 | 0 | 0 | 33020899.56 | Excl. GST | Joist | 6.10.2020 | 28 |  |  |  | Technical and price bid evaluation completed. Lottery withheld due to non-availability of funds. LoA will be placed after receipt of funds
29 | Keonjhar | 32 | 0 | 0 | 0 | 0 | 172 | 0 | 0 | 15 | 0 | 17.16 | 47 | 187 | 0 | 344 | 0 | 0 | 28678710.12 | Excl. GST | Joist | 6.10.2020 | 29 |  |  |  | Technical and price bid evaluation completed. Lottery withheld due to non-availability of funds. LoA will be placed after receipt of funds
30 | Keonjhar | 15 | 3 | 0 | 0 | 0 | 144 | 0 | 0 | 8 | 0 | 16.5 | 34 | 155 | 0 | 304 | 0 | 0 | 26626059 | Excl. GST | Joist | 6.10.2020 | 30 |  |  |  | Technical and price bid evaluation completed. Lottery withheld due to non-availability of funds. LoA will be placed after receipt of funds
31 | Keonjhar | 31 | 192 | 34.678 | 192 | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 21 | 191 | 0 | 384 | 0 | 0 | 13688416.614 | Excl. GST | Joist | 6.10.2020 | 31 |  |  |  | Technical and price bid evaluation completed. Lottery withheld due to non-availability of funds. LoA will be placed after receipt of funds
| Total | 1218 | 2741 | 219.639 | 1528 | 144 | 4876 | 1115 | 0 | 297 | 44 | 439.9915 | 2684 | 8968 | 810 | 12820 | 4 | 22 | 874555753.279 | [6 empty] | 351661128.49
[19 empty] | 54632967.647 | 159978394.747 | 105345427.1
10.53

## Package-1
PROPOSAL FOR STRENGTHENING OF ELECTRICAL NETWORK TO AVOID ELECTROCUTION OF ELEPHANTS UNDER BALASORE DISTRICT
SL No. | Forest Range | Electrical Division | Electrical Section | Village | GPS coordinates |  | Proposed Scope of Work
[5 empty] | Geo-Coordinate |  | LT Interposing Pole (With 9mtr Josit) ( in No.) | 3-Ph LT AB Cable (4x50+1x35+1x16mm2) ( in Km) | Fixing of 16 mm LT Stay (in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station (in No.) | Spike (2nos. Per set per Pole) in No. | VCB
[5 empty] | Latitude | Longitude |  |  |  | 9 mtr Joist | 10 mtr Josit | 11 mtr Joist | 10 mtr Josit | 11 mtr Joist | 13 mtr RS Joist | [5 empty] | 33 KV | 11 KV
1 | Nilgiri Wildlife Range | CED,Bls | Mitrapur | Machhua- Kathpal | 210 34’ 12.00” | 860 46’ 16.0” | [5 empty] | 18 |  |  |  | 0.8 | 11 | 18 | 2 | 18
2 | Nilgiri Wildlife Range | CED,Bls | Mitrapur | Kathpal (LT Line) | 210 34’ 16.12” | 860 46’ 35.16” | [5 empty] | 7 |  |  |  | 2.7 | 5 | 7 | 1 | 7
3 | Nilgiri Wildlife Range | CED,Bls | Mitrapur | Bhanga sadaka | 210 34’ 56.02” | 860 45’ 13.15” | [5 empty] | 12 |  |  |  | 0.45 | 8 | 12 | 1 | 12
4 | Nilgiri Wildlife Range | CED,Bls | Mitrapur | Nidapala chhaka | 210 35’ 07.84” | 860 45’ 03.45” | [5 empty] | 11 |  |  |  | 0.2 | 7 | 11 | 1 | 11
5 | Nilgiri Wildlife Range | CED,Bls | Mitrapur | Sagrampur | 210 35’ 45.69” | 860 45’ 41.40” | [5 empty] | 16 |  |  |  | 0.2 | 9 | 16 |  | 16
6 | Nilgiri Wildlife Range | CED,Bls | Mitrapur | Pundal-Purukhi | 210 35’ 48.73” | 860 46’ 36.49” | [5 empty] | 17 |  |  |  | 1.5 | 8 | 17 | 1 | 17
7 | Nilgiri Wildlife Range | CED,Bls | Mitrapur | Kansa-Tindesh | 210 36’ 17.63” | 860 43’ 29.74” | [5 empty] | 25 |  |  |  | 1.5 | 17 | 25 | 3 | 25
8 | Nilgiri Wildlife Range | CED,Bls | Mitrapur | Narasingpur | 210 36’ 14.70” | 860 43’ 54.31” | [9 empty] | 1.8 |  | 0 | 1 | 0
9 | Nilgiri Wildlife Range | CED,Bls | Mitrapur | Junagadia-Gopalpur | 210 31’ 38.0” | 860 44’ 11.0” | [5 empty] | 39 |  |  |  | 2.5 | 25 | 39 | 3 | 39
10 | Jaleswar Wildlife Range | JED, Jaleswar | Hatigarh | Kusagarh | 21.8993 | 87.1058 | 12 | 2 | 5 | [8 empty] | 12 |  | 12
11 | Jaleswar Wildlife Range | JED, Jaleswar | Hatigarh | Kusagarh | 21.8992 | 87.106 | 8 | 1.5 | 4 | [8 empty] | 8 |  | 8
12 | Jaleswar Wildlife Range | JED, Jaleswar | Hatigarh | Kusagarh | 21.8898 | 87.1091 | 4 | 0.8 | 3 | [8 empty] | 4 |  | 4
13 | Jaleswar Wildlife Range | JED, Jaleswar | Hatigarh | Gadasahi | 210 54' 11.7'' | 870 13' 23.7'' | 4 | 0.8 | 3 | [8 empty] | 4 |  | 4
14 | Jaleswar Wildlife Range | JED, Jaleswar | Hatigarh | Beherasahi | 210 53'23.2'' | 870 14' 01.4'' | 22 | 4 | 10 | [8 empty] | 22 |  | 22
15 | Jaleswar Wildlife Range | JED, Jaleswar | Hatigarh | Khudia Majhisahi | 210 53' 54.2'' | 870 13' 13.9'' | 13 | 2 | 5 | [8 empty] | 13 |  | 13
16 | Jaleswar Wildlife Range | JED, Jaleswar | Hatigarh | Raj Nagar` | 210 57' 02.2'' | 870 13' 25.4'' | 9 | 1.5 | 5 | [8 empty] | 9 |  | 9
[5 empty] | 65.6883 | 261.3209 | 72 | 12.6 | 35 | 0 | 0 | 145 | 0 | 0 | 0 | 11.65 | 90 | 217 | 13 | 217 | 0 | 0

## Package-2
PROPOSAL FOR STRENGTHENING OF ELECTRICAL NETWORK TO AVOID ELECTROCUTION OF ELEPHANTS UNDER BALASORE DISTRICT
SL No. | Forest Range | Electrical Division | Electrical Section | Village | GPS coordinates |  | Proposed Scope of Work
[5 empty] | Geo-Coordinate |  | LT Interposing Pole (With 9mtr Josit) ( in No.) | 3-Ph LT AB Cable (4x50+1x35+1x16mm2) ( in Km) | Fixing of 16 mm LT Stay (in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station (in No.) | Spike (2nos. Per set per Pole) in No. | VCB
[5 empty] | Latitude | Longitude |  |  |  | 9 mtr Joist | 10 mtr Josit | 11 mtr Joist | 10 mtr Josit | 11 mtr Joist | 13 mtr RS Joist | [5 empty] | 33 KV | 11 KV
1 | Soro (Wildlife Range | SED, Soro | Soro No.I | Gulunia | 210 20’38.7’’ | 860,35’,55.0’’ | 6 | 0.25 | 3 | [8 empty] | 6 | 1 | 6 |  | 1
2 | Soro (Wildlife Range | SED, Soro | Soro No.I | Hada | 210,21’,23.5’’ | 860,36’,43.6’’ | 10 | 0.4 | 4 | [8 empty] | 10 |  | 10
3 | Soro (Wildlife Range | SED, Soro | Soro No.I | Patana | 210,20’,57.2’’ | 860,36’,33.4’’ | 3 | 0.1 | 2 | [8 empty] | 3 | 1 | 3 |  | 1
4 | Soro (Wildlife Range | SED, Soro | Soro No.I | Phatamba | 210,22’,17.8’’ | 860,37’,49.9’’ | 5 | 0.2 | 2 | [8 empty] | 5 |  | 5
5 | Soro (Wildlife Range | SED, Soro | Soro No.I | Jatapada | 210,22’,45.0’’ | 860,37’,11.7’’ | 13 | 0.5 | 7 | [8 empty] | 13 |  | 13
6 | Soro (Wildlife Range | SED, Soro | Soro No.I | Uparagada | 210,22’,45.0’’ | 860,37’,11.7’’ | 5 | 0.2 | 2 | [8 empty] | 5 | 1 | 5 |  | 1
7 | Soro (Wildlife Range | SED, Soro | Soro No.I | Nuadahi | 210,22’,45.0’’ | 860,37’,11.7’’ | 13 | 0.5 | 7 | [8 empty] | 13 | 3 | 13 |  | 1
8 | Soro (Wildlife Range | SED, Soro | Oupada | Durgapur | 210,20’,50.7’’ | 860,35’,37.3’’ | [5 empty] | 15 |  |  |  | 0.6 | 8 | 15 |  | 15
9 | Soro (Wildlife Range | SED, Soro | Oupada | Chinchida | 210,21’,08.7’’ | 860,32’,50.6’’ | 5 | 0.2 | 3 | [8 empty] | 5 |  | 5
10 | Soro (Wildlife Range | SED, Soro | Oupada | Sorisapal | 210,20’,25.4’’ | 860,28’,26.4’’ | 5 | 0.2 | 2 | [8 empty] | 5 |  | 5
11 | Soro (Wildlife Range | SED, Soro | Oupada | Rangamatia Uparasahi | 210,21’,03.2’’ | 860,28’,34.5’’ | [5 empty] | 3 |  |  |  | 0.15 | 2 | 3 |  | 3
12 | Soro (Wildlife Range | SED, Soro | Oupada | Majhisahi | 210,20’,57..4’’ | 860,28’,37.7’’ | 4 | 0.15 | 2 | [8 empty] | 4 |  | 4
13 | Soro (Wildlife Range | SED, Soro | Oupada | Rangamatia Bila | 210,20’,51.2’’ | 860,28’,42.9’’ | [5 empty] | 6 |  |  |  | 0.25 | 4 | 6 |  | 6
14 | Soro (Wildlife Range | SED, Soro | Oupada | Kusundaspur | 210,20’,55.2’’ | 860,29’,07.2’’ | 6 | 0.25 | 2 | [8 empty] | 6 |  | 6
15 | Soro (Wildlife Range | SED, Soro | Oupada | Atasahi | 210,21’29.8’’ | 860,29’,21.6’’ | 5 | 0.2 | 2 | [8 empty] | 5 |  | 5
16 | Soro (Wildlife Range | SED, Soro | Oupada | Bharadabhati | 210,21’,39.3’’ | 860,29’,16.6’’ | 9 | 0.35 | 4 | [8 empty] | 9 |  | 9
17 | Soro (Wildlife Range | SED, Soro | Oupada | Gadasahi | 210,21’,50.6’’ | 860,29’,16.3’’ | 5 | 0.2 | 2 | [8 empty] | 5 |  | 5
18 | Soro (Wildlife Range | SED, Soro | Oupada | Gadasahi School | 210,21’,53.1’’ | 860,29’,23.9’’ | [5 empty] | 4 |  |  |  | 0.2 | 2 | 4 |  | 4
19 | Soro (Wildlife Range | SED, Soro | Oupada | Gadasahi | 210,21’,40.1’’ | 860,29’,24.0’’ | 9 | 0.35 | 4 | [8 empty] | 9 |  | 9
20 | Soro (Wildlife Range | SED, Soro | Oupada | Majhisahi | 210,21’,22.7’’ | 860,29’,57.4’’ | 6 | 0.25 | 2 | [8 empty] | 6 |  | 6
21 | Soro (Wildlife Range | SED, Soro | Oupada | Patharpada | 210,21’,19.6’’ | 860,30’,06.8’’ | 8 | 0.3 | 4 | [8 empty] | 8 |  | 8
22 | Soro (Wildlife Range | SED, Soro | Oupada | Chatirsahi | 210,20’,21.4’’ | 860,30’,57.3’’ | 10 | 0.4 | 6 | [8 empty] | 10 |  | 10
23 | Soro (Wildlife Range | SED, Soro | Oupada | Sriramkhunta | 210,21’,18.5’’ | 860,30’,22.8’’ | 9 | 0.35 | 4 | [8 empty] | 9 |  | 9
24 | Kuldiha Wildlife Range | SED, Soro | Bahanaga | Near Mallibania | 210 22’ 50.3” | 860 42’ 05.3” | 13 | 0.5 | 7 | [8 empty] | 13 |  | 13
25 | Kuldiha Wildlife Range | SED, Soro | Bahanaga | Near Mukundapur | 210 22’ 06.1” | 860 41’ 58.8 | 8 | 0.3 | 4 | [8 empty] | 8 |  | 8
26 | Kuldiha Wildlife Range | CED,Bls | Nilgiri | Near Panchalingeswar pitha | 210 24’ 39.0” | 860 43’ 22.0” | [5 empty] | 10 |  |  |  | 0.7 | 6 | 10 | 3 | 10
27 | Kuldiha Wildlife Range | CED,Bls | Nilgiri | Near Junia village | 210 25’ 49.0” | 860 44’ 23.0” | [5 empty] | 10 |  |  |  | 0.3 | 6 | 10 | 5 | 10
28 | Kuldiha Wildlife Range | CED,Bls | Nilgiri | Near Junia Transformer | 210 25’ 51.0” | 860 44’ 22.0” | [5 empty] | 10 |  |  |  | 0.5 | 5 | 10 |  | 10
29 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Near Ambajhar village | 210 28’ 33.0” | 860 41’ 23.4 | [5 empty] | 6 |  |  |  | 0.5 | 4 | 6 | 1 | 6
30 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Near Ambjhar primary school | 210 28’ 21.1” | 860 41’ 16.3” | [5 empty] | 5 |  |  |  | 0.15 | 3 | 5 | 1 | 5
31 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Near Ambjhar Primary school village | 210 28’ 30.0” | 860 41’ 16.5 | [5 empty] | 6 |  |  |  | 0.2 | 3 | 6 | 1 | 6
32 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Near Rukhimahadev | 210 27’ 59.5” | 860 42’ 23.4” | [5 empty] | 6 |  |  |  | 0.5 | 4 | 6 | 1 | 6
33 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Near Banthiapada village | 210 28’ 34.7” | 860 42’ 35.8” | [5 empty] | 6 |  |  |  | 0.5 | 3 | 6 | 1 | 6
34 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Near Gagulapani | 210 27’ 34.5” | 860 44’ 26.9” | [5 empty] | 3 |  |  |  | 0.5 | 3 | 3 | 1 | 3
35 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Jagannathpur village | 210 27’ 38.8” | 860 44’ 45.2” | [5 empty] | 6 |  |  |  | 0.1 | 3 | 6 | 1 | 6
36 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Jokalanda village | 210 27’ 36.2” | 860 44’ 47.1” | [5 empty] | 15 |  |  |  | 0.2 | 2 | 15 |  | 15
37 | Kuldiha Wildlife Range | CED,Bls | Nilgiri | Near Betsole | 210 27’ 02.4” | 860 44’ 35.0” | [5 empty] | 5 |  |  |  | 0.2 | 8 | 5 |  | 5
38 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Near Sinduria | 210 27’ 24.4” | 860 44’ 01.8 | [5 empty] | 8 |  |  |  | 0.2 | 4 | 8 |  | 8
39 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Chaindar village | 210 28’ 16.2” | 860 41’ 09.1” | [5 empty] | 4 |  |  |  | 0.5 | 2 | 4 |  | 4
40 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Chaindar village BPL line | 210 28’ 18.1” | 860 41’ 05.3” | [5 empty] | 10 |  |  |  | 0.1 | 4 | 10 |  | 10
41 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Near Ganapatisahi | 210 28’ 39.5” | 860 40’ 25.5” | [5 empty] | 5 |  |  |  | 0.2 | 2 | 5 | 2 | 5
42 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Near Balichua | 210 28’ 22.9” | 860 39’ 48.3” | [5 empty] | 8 |  |  |  | 0.2 | 3 | 8 |  | 8
43 | Kuldiha Wildlife Range | CED,Bls | Berhampur | Near Dwarikasuni | 210 29’ 14.8” | 860 39’ 39.6” | [5 empty] | 10 |  |  |  | 0.3 | 4 | 10 |  | 10
44 | Nilgiri Wildlife Range | CED,Bls | Berhampur | Hatimunda | 210 31’ 28.3” | 860 44’ 48.3” | [5 empty] | 4 |  |  |  | 0.3 | 2 | 4 |  | 4
45 | Nilgiri Wildlife Range | CED,Bls | Berhampur | Gendrasahi | 210 32’ 7.6” | 860 41’ 23.0” | [5 empty] | 5 |  |  |  | 0.5 | 0 | 5 |  | 5
46 | Nilgiri Wildlife Range | CED,Bls | Berhampur | Sapabania-Kirkichia | 210 33’ 58.58” | 860 41’ 43.25” | [5 empty] | 15 |  |  |  | 1.5 | 5 | 15 |  | 15
[5 empty] | 0 | 0 | 157 | 6.15 | 75 | 0 | 0 | 185 | 0 | 0 | 0 | 9.35 | 92 | 342 | 23 | 342 | 0 | 4

## Package-3 (hidden)
PROPOSAL FOR STRENGTHENING OF ELECTRICAL NETWORK TO AVOID ELECTROCUTION OF ELEPHANTS UNDER KEONJHAR DISTRICT
SL No. | Forest Division | Forest Range | Forest Section | Forest Beat | Electrical Division | Electrical Section | Village | Stretch of transmission lines in Km. | GPS coordinates |  | Proposed Scope of Work
[9 empty] | Geo-Coordinate |  | LT Interposing Pole(With 9mtr PSC) ( in No.) | 3-Ph LT AB Cable (3x50+1x35+1x16mm2) ( in Km) | Fixing of 16mm LT Stay ( in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station(in No.) | Spike(2nos. Per set per Pole) in No. | VCB |  | Estimated Cost incl GST in Rs.
[9 empty] | Latitude | Longitude |  |  |  | 9 mtr PSC | 10 mtr PSC | 11 mtr PSC | 10 mtr PSC | 11 mtr PSC | 13 mtr RS Joist | [5 empty] | 33KV | 11KV |  | Packages | Packages as per tender
[11 empty] | 6677 | 257647 | 3676 | 10498 | 14095 | 14851 | 17465 | 18221 | 53810 | 1521828 | 4972 | 2797 | 22400 | 3024 | 937798 | 540989
1 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Panaspal | 3 | N 200 59' 58.6" | E 850 56' 59.856" | [5 empty] | 5 | [10 empty] | 74255 | Package-I | 3
2 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Panaspal | 3 | N 210 00' 25.4" | E 850 56' 50.2" | [12 empty] | 1 |  |  |  | 22400 | Package-I | 3
3 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Dubikhal | 2 | N 210 01' 52.4" | E 850 56' 14.8" | [12 empty] | 1 |  |  |  | 22400 | Package-I | 3
4 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Ashokjhara | 3 | N 210 02' 20.8" | E 850 53' 52.422" | [5 empty] | 15 | [10 empty] | 222765 | Package-I | 3
5 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Ashokjhara | 3 | N 210 01' 27.6" | E 850 53' 46.0" | [12 empty] | 1 | 1 |  |  | 25424 | Package-I | 3
6 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Rankia | 5 | N 210 01' 47.9" | E 850 52' 20.9" | [5 empty] | 15 |  |  |  |  | 3 | [5 empty] | 237681 | Package-I | 3
7 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Rankia (Dehuri Sahi) | 2 | N 210 01' 20.49" | E 850 52' 2.1" | [5 empty] | 10 |  |  |  |  | 3 | [5 empty] | 163426 | Package-I | 3
8 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Duburi | Giringamali | 2 | N 200 59' 38.8" | E 850 48' 23.9" | [5 empty] | 10 | [10 empty] | 148510 | Package-I | 3
9 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Duburi | -do- | 2 | N 200 59' 32.0" | E 850 48' 41.7" | [5 empty] | 8 | [10 empty] | 118808 | Package-I | 3
10 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Garamia | 1.5 | N 200 59' 17.8" | E 850 48' 22.5" | [5 empty] | 20 |  |  |  |  | 4 | [5 empty] | 316908 | Package-I | 3
11 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Garamia | 3 | N 200 58' 8.46" | E 850 48' 7.47" | [5 empty] | 7 |  |  |  |  | 2 | [5 empty] | 113901 | Package-I | 3
12 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Singadia | 1.5 | N 210 00' 16.5" | E 850 53' 51.1" | 10 | 0.7 | [14 empty] | 247122.9 | Package-I | 3
13 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Ampolaba | 3 | N 200 56' 38.7" | E 850 55' 20.3" | [5 empty] | 6 |  |  |  |  | 3 | [5 empty] | 104022 | Package-I | 3
14 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Baradi | 3 | N 200 56' 14.7" | E 850 55' 28.11" | 10 | 0.6 | [14 empty] | 221358.2 | Package-I | 3
15 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Kharadi | 2 | N 200 55' 54.6" | E 850 55' 40.9" | 10 | 0.6 | [5 empty] | 15 |  |  | 5 | [5 empty] | 519533.2 | Package-I | 3
16 | Cuttack | Sukinda | Sukinda | Patapur | JRED | Sukinda | Dalki | 1.5 | N 200 56' 40.3" | E 850 54' 17.9" | [7 empty] | 5 |  |  | 2 | [5 empty] | 101049 | Package-I | 3
17 | Cuttack | Sukinda | Sukinda | Sukinda | JRED | Sukinda | Dalki | 1 | N 200 56' 24.8" | E 850 52' 51.7" | [13 empty] | 6 |  |  | 18144 | Package-I | 3
18 | Cuttack | Sukinda | Sukinda | Mangalpur | JRED | Duburi | Pubal | 2 | N 200 57' 16.4" | E 850 51' 55.4" | [12 empty] | 2 |  |  |  | 44800 | Package-I | 3
19 | Cuttack | DALIJORA | Chandikhole | Chandikhole | KED,Kuakhia | Neulpur | Gulzar Nagar Patna to Mahavinayak | 5 | N 200 42' 27.1" | E 860 04' 09.5" | 73 | 9.579 | 19 |  |  | 50 |  |  |  | 5.12 | 14 | 48 | 28 | 256 |  | 1 | 13705771.973 | Package-I | 3
20 | Cuttack | DALIJORA | Chandikhole | Chandikhole |  |  |  |  | N 200 42' 20.9" | E 860 05' 11.2" | [17 empty] | Package-I | 3
21 | Cuttack | DALIJORA | Chandikhole | Chandikhole | KED,Kuakhia | Neulpur | Kolasahi to Balisahi | 1 | N 200 42' 15.0" | E 860 04' 04.0" | 25 | 1.442 | 8 |  |  | 8 |  |  |  | 1.4 | 6 | 11 | 10 | 68 |  |  | 3307458.174 | Package-I | 3
[8 empty] | 49.5 | 0 | 0 | 128 | 12.921 | 27 | 0 | 0 | 154 | 0 | 20 | 0 | 6.52 | 42 | 59 | 43 | 331 | 0 | 1 | 19735737.447

## Package-04
PROPOSAL FOR STRENGTHENING OF ELECTRICAL NETWORK TO AVOID ELECTROCUTION OF ELEPHANTS UNDER MAYURBHANJ DISTRICT
SL No. | Forest Range | Electrical Division | Electrical Section | Village | GPS coordinates |  | Proposed Scope of Work
[5 empty] | Geo-Coordinate |  | LT Interposing Pole (With 9mtr Josit) ( in No.) | 3-Ph LT AB Cable (4x50+1x35+1x16mm2) ( in Km) | Fixing of 16 mm LT Stay (in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station (in No.) | Spike (2nos. Per set per Pole) in No. | VCB
[5 empty] | Latitude | Longitude |  |  |  | 9 mtr Joist | 10 mtr Josit | 11 mtr Joist | 10 mtr Josit | 11 mtr Joist | 13 mtr RS Joist | [5 empty] | 33 KV | 11 KV
1 | Karanjia | RED, Rairangpur | SUKRULI | Jodipada | 210 57’ 31.7’’ | 850 49’ 41.6’’ | 8 | 1 | 6 |  | 15 | [5 empty] | 10 | 15 | 3 | 30
2 | Karanjia | RED, Rairangpur | SUKRULI | Tulasipur | 210 57’ 27.6’’ | 850 50’ 25.1’’ | 5 | 0.5 | 5 |  | 7 |  |  | 11 |  |  | 5 | 7 | 2 | 14
3 | Karanjia | RED, Rairangpur | SUKRULI | Digposi | 220 05’ 00.6’’ | 850 49’ 54.2’’ | 8 | 0.4 | 5 |  | 25 | [5 empty] | 10 | 33 | 2 | 50
4 | Karanjia | RED, Rairangpur | SUKRULI | Digposi | 220 05’ 10.1’’ | 850 49’ 46.2’’ | 6 | 0.3 | 3 |  | 10 | [5 empty] | 8 | 16 | 1 | 20
5 | Karanjia | RED, Rairangpur | SUKRULI | Buruhatu | 220 05’ 16.6’’ | 850 49’ 04.0’’ | 5 | 0.5 | 3 |  | 10 | [5 empty] | 5 | 10 | 1 | 20
6 | Karanjia | RED, Rairangpur | SUKRULI | Naksara | 220 06’ 04.1’’ | 850 48’ 24.0’’ | 9 | 0.8 | 7 |  | 20 | [5 empty] | 12 | 20 | 2 | 40 |  | 1
7 | Karanjia | RED, Rairangpur | SUKRULI | Kudarsahi | 220 06’ 04.9’’ | 850 47’ 38.8’’ | 5 | 0.3 | 3 |  | 8 | [5 empty] | 3 | 8 | 1 | 16
8 | Karanjia | RED, Rairangpur | SUKRULI | Kudarsahi | 220 06’ 02.9’’ | 850 47’ 36.9’’ | 4 | 0.2 | 3 |  | 7 | [5 empty] | 3 | 7 | 1 | 14
9 | Karanjia | RED, Rairangpur | SUKRULI | Rangamatia | 220 05’ 39.7’’ | 850 47’ 23.1’’ | 8 | 0.7 | 5 |  | 18 | [5 empty] | 10 | 18 | 2 | 36
10 | Karanjia | RED, Rairangpur | SUKRULI | Rangamatia | 220 05’ 07.6’’ | 850 47’ 19.3’’ | 5 | 0.5 | 3 |  | 9 | [5 empty] | 4 | 9 | 1 | 18
11 | Karanjia | RED, Rairangpur | SUKRULI | Narsandha | 220 04’ 56.7’’ | 850 47’ 00.4’’ | 6 | 0.4 | 4 |  | 8 | [5 empty] | 5 | 8 | 1 | 16
12 | Karanjia | RED, Rairangpur | SUKRULI | Brahmaniposi | 220 03’ 34.3’’ | 850 46’ 02.3’’ | 4 | 0.2 | 2 |  | 5 | [5 empty] | 2 | 5 | 1 | 10
13 | Karanjia | RED, Rairangpur | SUKRULI | Brahminipopsi | 220 03’ 17.0’’ | 850 46’ 20.1’’ | 2 | 0.1 | 2 |  | 7 | [5 empty] | 2 | 7 | 1 | 14
14 | Karanjia | RED, Rairangpur | SUKRULI | Narsandha | 220 04’ 58.9’’ | 850 46’ 54.8’’ | 3 | 0.2 | 2 |  | 8 | [5 empty] | 3 | 8 | 1 | 16
15 | Karanjia | RED, Rairangpur | SUKRULI | Dhanyatri | 220 04’ 13.9’’ | 850 45’ 26.9’’ | 3 | 0.2 | 3 |  | 10 | [5 empty] | 5 | 10 | 1 | 20
16 | Karanjia | RED, Rairangpur | SUKRULI | Parabeda | 220 02’ 17.3’’ | 850 43’ 28.2’’ | 4 | 0.3 | 5 |  | 11 | [5 empty] | 5 | 11 | 1 | 22
17 | Karanjia | RED, Rairangpur | SUKRULI | Budamara | 220 00’ 26.7’’ | 850 42’ 42.6’’ | 4 | 0.3 | 5 |  | 5 | [5 empty] | 5 | 14 | 1 | 28
18 | Karanjia | RED, Rairangpur | SUKRULI | Milusahi | 220 00’ 49.8’’ | 850 42’ 49.6’’ | 5 | 0.2 | 3 |  | 14 | [5 empty] | 4 | 14 | 1 | 28
19 | Karanjia | RED, Rairangpur | SUKRULI | Nuagaon | 220 00’ 00.1’’ | 850 44’ 04.8’’ | 3 | 0.3 | 3 |  | 13 | [5 empty] | 4 | 13 | 1 | 26
20 | Karanjia | RED, Rairangpur | SUKRULI | Haldia | 210 52’ 44.6’’ | 850 54’ 14.2’’ | 3 | 0.2 | 4 |  | 11 |  |  |  |  | 5 | 11 | 1 | 22
21 | Gurguria | RED, Rairangpur | JASHIPUR | Nawana | 220 01’ 11.8’’ | 860 00’ 18.0’’ | 12 | 0.3 | 3 |  | 14 | 5 |  |  |  | 1 | 10 | 38 | 3 | 38
22 | Gurguria | RED, Rairangpur | JASHIPUR | Kuadarbisda | 210 57’ 23.8’’ | 860 00’ 35.8’’ | 8 | 0.3 | 3 |  | 12 | [5 empty] | 12 | 24 | 2 | 24
[5 empty] | 0 | 0 | 120 | 8.2 | 82 | 0 | 247 | 5 | 0 | 11 | 0 | 6 | 138 | 296 | 52 | 500 | 0 | 1

## Package-07
PROPOSAL FOR STRENGTHENING OF ELECTRICAL NETWORK TO AVOID ELECTROCUTION OF ELEPHANTS UNDER MAYURBHANJ DISTRICT
SL No. | Forest Range | Electrical Division | Electrical Section | Village | GPS coordinates |  | Proposed Scope of Work
[5 empty] | Geo-Coordinate |  | LT Interposing Pole (With 9mtr Josit) ( in No.) | 3-Ph LT AB Cable (4x50+1x35+1x16mm2) ( in Km) | Fixing of 16 mm LT Stay (in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station (in No.) | Spike (2nos. Per set per Pole) in No. | VCB
[5 empty] | Latitude | Longitude |  |  |  | 9 mtr Joist | 10 mtr Josit | 11 mtr Joist | 10 mtr Josit | 11 mtr Joist | 13 mtr RS Joist | [5 empty] | 33 KV | 11 KV
1 | Karanjia | RED, Rairangpur | KARANJIA-II | Budhisorei | 210 49’ 65.22’’ | 850 55’ 29.35’’ | 5 | 1.2 | 12 |  | 18 |  |  |  |  | 1.5 | 15 | 30 | 2 | 36 |  | 2
2 | Karanjia | RED, Rairangpur | KARANJIA-II | Saranggarh | 210 49’ 27.51’’ | 850 53’ 40.98’’ | 20 | 1.5 | 15 |  |  | 20 |  |  |  | 2 | 20 | 55 | 3 | 40
3 | Dudhiani | RED, Rairangpur | KARANJIA-II | Kurulia | 210 48’ 38.1’’ | 860 00’ 08.0’’ | 18 | 2 | 15 |  |  | 16 |  |  |  | 2.5 | 20 | 45 | 5 | 32
4 | Dudhiani | RED, Rairangpur | KARANJIA-II | Kurulia | 210 48’ 36.2’’ | 860 00’ 10.5’’ | 15 | 1.5 | 18 |  |  | 15 |  |  |  | 2 | 18 | 40 | 2 | 30
5 | Dudhiani | RED, Rairangpur | KARANJIA-II | Kadambeda | 210 47’ 04.7’’ | 860 00’ 57.9’’ | 22 | 2 | 15 |  |  | 15 |  |  |  | 2 | 15 | 22 | 1 | 30
6 | Dudhiani | RED, Rairangpur | KARANJIA-II | Kadambeda | 210 47’ 02.7’’ | 860 00’ 56.8’’ | 10 | 1 | 10 |  |  | 10 |  |  |  | 1.5 | 12 | 15 | 1 | 20
7 | Dudhiani | RED, Rairangpur | KARANJIA-II | Kadambeda | 210 47’ 00.6’’ | 860 00’ 55.7’’ | 15 | 1 | 12 |  |  | 14 |  |  |  | 1.4 | 10 | 20 | 1 | 28
8 | Dudhiani | RED, Rairangpur | KARANJIA-II | Kadambeda | 210 46’ 58.4’’ | 860 00’ 55.6’’ | 16 | 1.2 | 15 |  |  | 16 |  |  |  | 1.5 | 14 | 25 | 1 | 32
9 | Dudhiani | RED, Rairangpur | KARANJIA-II | Kadambeda | 210 46’ 54.4’’ | 860 00’ 55.6’’ | 20 | 0.8 | 10 |  |  | 12 |  |  |  | 2 | 12 | 18 | 1 | 24
[7 empty] | 141 | 12.2 | 122 | 0 | 18 | 118 | 0 | 0 | 0 | 16.4 | 136 | 270 | 17 | 272 | 0 | 2

## Package-08
PROPOSAL FOR STRENGTHENING OF ELECTRICAL NETWORK TO AVOID ELECTROCUTION OF ELEPHANTS UNDER MAYURBHANJ DISTRICT
SL No. | Forest Range | Electrical Division | Electrical Section | Village | GPS coordinates |  | Proposed Scope of Work
[5 empty] | Geo-Coordinate |  | LT Interposing Pole (With 9mtr Josit) ( in No.) | 3-Ph LT AB Cable (4x50+1x35+1x16mm2) ( in Km) | Fixing of 16 mm LT Stay (in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station (in No.) | Spike (2nos. Per set per Pole) in No. | VCB
[5 empty] | Latitude | Longitude |  |  |  | 9 mtr Joist | 10 mtr Josit | 11 mtr Joist | 10 mtr Josit | 11 mtr Joist | 13 mtr RS Joist | [5 empty] | 33 KV | 11 KV
1 | Karanjia | RED, Rairangpur | THAKURMUNDA | Tangurusahi | 210 43’ 18.0’’ | 860 02’ 34.9’’ | 15 |  | 5 |  | 17 |  |  |  |  | 1 | 6 | 17 | 1 | 34
2 | Karanjia | RED, Rairangpur | THAKURMUNDA | Kenjhara | 210 42’ 23.2’’ | 860 04’ 06.4’’ | 25 | 0.2 | 9 |  | 15 | 5 |  |  |  |  | 5 | 45 | 1 | 40
3 | Karanjia | RED, Rairangpur | THAKURMUNDA | Kenjhara | 210 42’ 22.4’’ | 860 04’ 06.0’’ | 18 | 0.7 | 7 |  | 12 | 6 |  | 16 |  |  | 8 | 36 | 1 | 36
4 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Khadidamak | 210 39’ 13.8’’ | 860 06’ 56.0’’ | 17 |  | 6 |  | 32 | [5 empty] | 7 | 49 |  | 64
5 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Khadidamak | 210 39’ 23.0’’ | 860 07’ 18.8’’ | 15 |  | 5 |  | 22 | [5 empty] | 5 | 37 |  | 44
6 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Edelbeda | 210 40’ 04.6’’ | 860 08’ 24.2’’ | 18 |  | 6 |  | 22 | [5 empty] | 9 | 40 |  | 44
7 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Edelbeda | 210 40’ 17.4’’ | 860 08’ 44.6’’ | 17 |  | 5 |  | 23 | [5 empty] | 8 | 40 |  | 46
8 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Kendumundi | 210 41’ 02.8’’ | 860 06’ 23.1’’ | 19 | 1.2 | 10 |  | 30 | 6 |  | 41 |  |  | 30 | 96 | 1 | 60
9 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Dhudibari | 210 40’ 17.0’’ | 860 06’ 02.7’’ |  |  |  |  | 15 | [5 empty] | 5 | 15 |  | 30
10 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Asanbani | 210 39’ 43.0’’ | 860 06’ 04.9’’ | 19 |  | 6 |  |  | 28 |  | 45 |  |  | 15 | 92 |  | 146
11 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Patbil | 210 42’ 13.0’’ | 860 05’ 07.0’’ | 20 | 1.5 | 8 |  | 28 |  |  | 48 |  |  | 25 | 96 |  | 152
12 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Rengalbeda RF | 210 41’ 02.9’’ | 860 05’ 36.5’’ | 18 |  | 6 |  | 15 | [5 empty] | 8 | 33 |  | 30
13 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Dhatikabeda | 210 40’ 24.1’’ | 860 04’ 52.8’’ | 12 | 1.2 | 4 |  | 16 | [5 empty] | 4 | 28 |  | 32
14 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Baghlata | 210 44’ 02.8’’ | 860 05’ 05.2’’ | 18 |  | 6 |  | 15 | [5 empty] | 8 | 33 |  | 30
15 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Baghlata | 210 43’ 43.1’’ | 860 05’ 16.9’’ | 15 |  | 5 |  | 13 | [5 empty] | 6 | 28 |  | 26
16 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Jodbil | 210 37’ 28.7’’ | 860 06’ 45.7’’ | 15 | 1 | 6 |  | 18 | [5 empty] | 5 | 25 | 3 | 36
17 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Khandabanda | 210 34’ 29.5’’ | 860 05’ 36.8’’ | 21 | 1.5 | 7 |  | 35 | [5 empty] | 12 | 35 | 5 | 70
18 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Padiabeda | 210 34’ 31.7’’ | 860 05’ 50.2’’ | 22 | 1.8 | 8 |  | 28 | [5 empty] | 11 | 50 | 2 | 56
19 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Boring | 210 33’ 02.4’’ | 860 01’ 50.5’’ | 22 |  | 7 |  | 31 | [5 empty] | 15 | 53 | 1 | 62
20 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Asankudar | 210 36’ 00.4’’ | 860 12’ 29.4’’ | 6 |  |  |  | 17 | [5 empty] | 5 | 23 | 1 | 34
21 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Kadapani | 210 36’ 04.0’’ | 860 09’ 45.0’’ | 8 |  | 2 |  | 8 | [5 empty] | 2 | 16 | 1 | 16
22 | Kendumundi | RED, Rairangpur | THAKURMUNDA | Khaparkhai | 210 37’ 23.0’’ | 860 10’ 27.0’’ | 6 |  | 2 |  | 23 | [5 empty] | 9 | 29 |  | 46
[7 empty] | 346 | 9.1 | 120 | 0 | 435 | 45 | 0 | 150 | 0 | 1 | 208 | 916 | 17 | 1134 | 0 | 0

## Package-16 (hidden)
PROPOSAL FOR STRENGTHENING OF ELECTRICAL NETWORK TO AVOID ELECTROCUTION OF ELEPHANTS UNDER KEONJHAR DISTRICT
SL No. | Forest Division | Forest Range | Forest Section | Forest Beat | Electrical Division | Electrical Section | Village | Stretch of transmission lines in Km. | GPS coordinates |  | Proposed Scope of Work
[9 empty] | Geo-Coordinate |  | LT Interposing Pole(With 9mtr PSC) ( in No.) | 3-Ph LT AB Cable (3x50+1x35+1x16mm2) ( in Km) | Fixing of 16mm LT Stay ( in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station(in No.) | Spike(2nos. Per set per Pole) in No. | VCB |  | Estimated Cost incl GST in Rs.
[9 empty] | Latitude | Longitude |  |  |  | 9 mtr PSC | 10 mtr PSC | 11 mtr PSC | 10 mtr PSC | 11 mtr PSC | 13 mtr RS Joist | [5 empty] | 33KV | 11KV |  | Packages | Packages as per tender
[11 empty] | 6677 | 257647 | 3676 | 10498 | 14095 | 14851 | 17465 | 18221 | 53810 | 1521828 | 4972 | 2797 | 22400 | 3024 | 937798 | 540989
1 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Sagadapata | Anandapur | Harichandanpur |  |  | 21 15 46.99 | 85 57 42.55 |  |  |  |  | 5 |  |  |  |  | 0.75 | 1 | 2 | 0 | 10 |  |  | 1252652 | Package-7 | 16
2 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Sagadapata | Anandapur | Harichandanpur |  |  | 21 15 39.88 | 85 57 58.56 |  |  |  |  | 8 |  |  |  |  | 0.4 | 1 | 2 | 0 | 16 |  |  | 780441.2 | Package-7 | 16
3 | Keonjhar (WL) | Deogaon (WL) | Harichandanpur | Gargadabahal | Anandapur | Harichandanpur | Madhyapur | 0.35 | 21 18 43.03 | 85 35 11.57 |  |  |  |  | 1 |  |  |  |  | 0.1 | 1 | 2 | 0 | 2 |  |  | 182891.8 | Package-7 | 16
4 | Keonjhar (WL) | Deogaon (WL) | Harichandanpur | Gargadabahal | Anandapur | Harichandanpur | Madhyapur |  | 21 18 38.45 | 85 45 11.67 |  |  |  |  | 1 |  |  |  |  | 0.15 | 1 | 2 |  | 2 |  |  | 258983.2 | Package-7 | 16
5 | Keonjhar (WL) | Deogaon (WL) | Harichandanpur | Gargadabahal | Anandapur | Harichandanpur | Madhyapur |  | 21 18 32.7 | 85 45 11.82 |  |  |  |  | 1 |  |  |  |  | 0.15 | 1 | 2 |  | 2 |  |  | 258983.2 | Package-7 | 16
6 | Keonjhar (WL) | Deogaon (WL) | Harichandanpur | Gargadabahal | Anandapur | Harichandanpur | Rohi | 2.3 | 21 17 24.28 | 85 43 26.43 |  |  |  |  | 8 |  |  |  |  | 0.52 | 1 | 2 |  | 16 |  |  | 963060.56 | Package-7 | 16
7 | Keonjhar (WL) | Deogaon (WL) | Harichandanpur | Gargadabahal | Anandapur | Harichandanpur | Rohi |  | 21 17 17.77 | 85 43 30.17 |  |  |  |  | 12 |  |  |  |  | 0.72 | 2 | 2 | 1 | 24 |  |  | 1375370.16 | Package-7 | 16
8 | Keonjhar (WL) | Deogaon (WL) | Harichandanpur | Gargadabahal | Anandapur | Harichandanpur | Rohi |  | 21 16 42.04 | 85 43 30.82 |  |  |  |  | 9 |  |  |  |  | 0.6 | 1 | 2 | 0 | 18 |  |  | 1104949.8 | Package-7 | 16
9 | Keonjhar (WL) | Deogaon (WL) | Harichandanpur | Gargadabahal | Anandapur | Harichandanpur | Rohi |  | 21 16 14.98 | 85 43 9.89 |  |  |  |  | 10 |  |  |  |  | 0.6 | 1 | 2 | 0 | 20 |  |  | 1125092.8 | Package-7 | 16
10 | Keonjhar (WL) | Deogaon (WL) | Harichandanpur | Gargadabahal | Anandapur | Harichandanpur | Ostiaposi | 0.5 | 21 17 50.63 | 85 42 15.46 |  |  |  |  | 1 |  |  |  |  | 0.18 | 1 | 2 | 0 | 2 |  |  | 304638.04 | Package-7 | 16
11 | Keonjhar (WL) | Deogaon (WL) | Harichandanpur | Gargadabahal | Anandapur | Harichandanpur | Ostiaposi |  | 21 17 51.97 | 85 42 12.54 |  |  |  |  | 1 |  |  |  |  | 0.1 | 1 | 2 | 0 | 2 |  |  | 182891.8 | Package-7 | 16
12 | Keonjhar (WL) | Deogaon (WL) | Harichandanpur | Gargadabahal | Anandapur | Harichandanpur | Ostiaposi |  | 21 17 44.53 | 85 42 5.85 |  |  |  |  | 1 |  |  |  |  | 0.2 | 1 | 2 |  | 2 |  |  | 335074.6 | Package-7 | 16
13 | Keonjhar (WL) | Deogaon (WL) | Harichandanpur | Gargadabahal | Anandapur | Harichandanpur | Ostiaposi |  | 21 17 42.28 | 85 42 3.2 |  |  |  |  | 1 |  |  |  |  | 0.24 | 1 | 2 |  | 2 |  |  | 395947.72 | Package-7 | 16
14 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Gaduan | Anandapur | Harichandanpur | Gaduan (Gaduan Talasahi to Matha) | 2.7 | 21 12 5.29 | 85 55 4.29 |  |  |  |  | 11 |  |  |  |  | 2 | 2 | 2 |  | 22 |  |  | 3280767 | Package-7 | 16
15 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Gaduan | Anandapur | Harichandanpur | Gaduan (Gaduan Talasahi to Matha) |  | 21 11 26.84 | 85 55 50.48 |  |  |  |  | 9 |  |  |  |  | 0.9 | 1 | 2 |  | 18 |  |  | 1561498.2 | Package-7 | 16
16 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Gaduan | Anandapur | Harichandanpur | Gaduan (Gaduan Talasahi to Uparasahi) | 0.8 | 21 125.00 | 85 55 5.99 |  |  |  |  | 1 |  |  |  |  | 0.54 | 1 | 2 | 0 | 2 |  |  | 852496.12 | Package-7 | 16
17 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Gaduan | Anandapur | Harichandanpur | Gaduan (Gaduan Talasahi to Uparasahi) |  | 21 12 18.88 | 85 54 51.35 |  |  |  |  | 1 |  |  |  |  | 0.48 | 1 | 2 | 0 | 2 |  |  | 761186.44 | Package-7 | 16
18 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Gaduan | Anandapur | Harichandanpur | Barigaon (Matha to Tikarsahi) | 1 | 21 11 26.84 | 85 55 50.48 |  |  |  |  | 5 |  |  |  |  | 0.6 | 1 | 2 | 0 | 10 |  |  | 1024377.8 | Package-7 | 16
19 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Gaduan | Anandapur | Harichandanpur | Barigaon (Matha to Tikarsahi) |  | 21 11 12.08 | 85 56 7.51 |  |  |  |  | 2 |  |  |  |  | 0.6 | 2 | 2 | 0 | 4 |  |  | 968920.8 | Package-7 | 16
20 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Gaduan | Anandapur | Harichandanpur | Barigaon (Tikarasahi to Tulasigotha) | 1.7 | 21 11 12.08 | 85 56 7.31 |  |  |  |  | 7 |  |  |  |  | 0.9 | 1 | 2 | 0 | 14 |  |  | 1521212.2 | Package-7 | 16
21 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Gaduan | Anandapur | Harichandanpur | Barigaon (Tikarasahi to Tulasigotha) |  | 21 11 57.65 | 85 56 20.96 |  |  |  |  | 4 |  |  |  |  | 0.9 | 4 | 2 | 1 | 8 |  |  | 1498099.2 | Package-7 | 16
22 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Bhagamunda to Talabedasahi | 3 | 21 15 48.20 | 85 52 51.7 |  |  |  |  | 10 |  |  |  |  | 1.2 | 2 | 2 | 0 | 20 |  |  | 2043161.6 | Package-7 | 16
23 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Bhagamunda to Talabedasahi |  | 21 15 30.70 | 85 52 46.1 |  |  |  |  | 5 |  |  |  |  | 0.6 | 1 | 2 | 0 | 10 |  |  | 1024377.8 | Package-7 | 16
24 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Bhagamunda to Talabedasahi |  | 21 15 13.20 | 85 52 17.4 |  |  |  |  | 2 |  |  |  |  | 0.24 | 2 | 2 | 0 | 4 |  |  | 421062.72 | Package-7 | 16
25 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Bhagamunda to Talabedasahi |  | 21 15 18.40 | 85 52 9.5 |  |  |  |  | 4 |  |  |  |  | 0.48 | 4 | 2 |  | 8 |  |  | 836531.44 | Package-7 | 16
26 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Bhagamunda to Talabedasahi |  | 21 14 55.00 | 85 52 16.4 |  |  |  |  | 7 |  |  |  |  | 0.84 | 1 | 2 |  | 14 |  |  | 1429902.52 | Package-7 | 16
27 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Bhagamunda to Talabedasahi |  | 21 14 44.80 | 85 52 16.8 |  |  |  |  | 2 |  |  |  |  | 0.24 | 2 | 2 |  | 4 |  |  | 421062.72 | Package-7 | 16
28 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Bhagamunda to Talabedasahi |  | 21 14 39.20 | 85 52 19.9 |  |  |  |  | 1 |  |  |  |  | 0.12 | 1 | 2 |  | 2 |  |  | 213328.36 | Package-7 | 16
29 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Karamgotha Sahi to Hayarpur | 2 | 21 14 26.40 | 85 52 36.4 |  |  |  |  | 2 |  |  |  |  | 0.4 | 2 | 2 | 0 | 4 |  |  | 664555.2 | Package-7 | 16
30 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Karamgotha Sahi to Hayarpur |  | 21 14 36.40 | 85 52 46.3 |  |  |  |  | 3 |  |  |  |  | 0.4 | 3 | 2 | 0 | 6 |  |  | 689670.2 | Package-7 | 16
31 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Karamgotha Sahi to Hayarpur |  | 21 14 49.52 | 85 52 49.62 |  |  |  |  | 2 |  |  |  |  | 0.35 | 2 | 2 | 0 | 4 |  |  | 588463.8 | Package-7 | 16
32 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Karamgotha Sahi to Hayarpur |  | 21 15 5.37 | 85 53 5.7 |  |  |  |  | 3 |  |  |  |  | 0.4 | 3 | 2 | 0 | 6 |  |  | 689670.2 | Package-7 | 16
33 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Karamgotha Sahi to Hayarpur |  | 21 14 49.40 | 85 53 14.34 |  |  |  |  | 4 |  |  |  |  | 0.45 | 4 | 2 | 0 | 8 |  |  | 790876.6 | Package-7 | 16
34 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Karamgotha Sahi to Hayarpur |  | 21 14 44.98 | 85 53 10.74 |  |  |  |  | 5 |  |  |  |  | 0.4 | 1 | 2 | 0 | 10 |  |  | 720012.2 | Package-7 | 16
35 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Hayarpur to Kusumjodi | 2 | 21 15 7.04 | 85 53 8.59 |  |  |  |  | 7 |  |  |  |  | 0.4 | 2 | 2 | 0 | 14 |  |  | 765270.2 | Package-7 | 16
36 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Hayarpur to Kusumjodi |  | 21 15 15.75 | 85.53 15.75 |  |  |  |  | 4 |  |  |  |  | 0.4 | 4 | 2 |  | 8 |  |  | 714785.2 | Package-7 | 16
37 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Hayarpur to Kusumjodi |  | 21 15 21.59 | 85 53 18.91 |  |  |  |  | 5 |  |  |  |  | 0.35 | 1 | 2 |  | 10 |  |  | 643920.8 | Package-7 | 16
38 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Hayarpur to Kusumjodi |  | 21 15 28.90 | 85 53 24.41 |  |  |  |  | 6 |  |  |  |  | 0.4 | 1 | 2 |  | 12 |  |  | 740155.2 | Package-7 | 16
39 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Hayarpur to Kusumjodi |  | 21 15 31.96 | 85 53 25.97 |  |  |  |  | 4 |  |  |  |  | 0.45 | 4 | 2 |  | 8 |  |  | 790876.6 | Package-7 | 16
40 | Keonjhar (WL) | Deogaon (WL) | Bhagamunda | Bhagamunda | Anandapur | Harichandanpur | Hayarpur to Kusumjodi |  | 21 15 39.30 | 85 5327.22 |  |  |  |  | 5 |  |  |  |  | 0.4 | 1 | 2 | 0 | 10 |  |  | 720012.2 | Package-7 | 16
[8 empty] | 16.35 | 0 | 0 | 0 | 0 | 0 | 0 | 180 | 0 | 0 | 0 | 0 | 20.15 | 68 | 80 | 2 | 360 | 0 | 0 | 34897230.2

## Package-21
PROPOSAL FOR CABLING OF TRANSMISSION LINES TO AVOID ELECTROCUTION OF ELEPHANTS UNDER BALASORE DISTRICT
Sl No. | Forest Range | Electrical Division | Electrical Section | Village | GPS coordinates |  | Proposed Scope of Work
[5 empty] | (DD MM SS) |  | LT Interposing Pole (With 9mtr Josit) ( in No.) | 3-Ph LT AB Cable (4x50+1x35+1x16mm2) ( in Km) | Fixing of 16 mm LT Stay (in Set) | 11 KV Interposing as per field requirement ( in No.) |  |  | 33KV Interposing as per field requirement ( in No.) |  |  | 11KV Insulated Conductor (99sqmm) in CKm | Fixing of 18mm HT Stay ( in Set) | Couping of Pole in No. | Fencing of Sub-station (in No.) | Spike (2nos. Per set per Pole) in No. | VCB
[5 empty] | Latitude | Longitude |  |  |  | 9 mtr Joist | 10 mtr Josit | 11 mtr Joist | 10 mtr Josit | 11 mtr Joist | 13 mtr RS Joist | [5 empty] | 33 KV | 11 KV
1 | Jaleswar WL | JED, Jaleswar | Hatigarh | Beherasahi | N-210 53’ 23.2” | E-870 14’ 01.4” | 22 | 4 | 10 | [8 empty] | 22 |  | 22
2 | Jaleswar WL | JED, Jaleswar | Hatigarh | Gadasahi | N-210 54’ 11.7” | E-870 13’ 23.7” | 4 | 0.8 | 3 | [8 empty] | 4 |  | 4
3 | Jaleswar WL | JED, Jaleswar | Hatigarh | Khudia Majhi sahi | N-210 53’ 54.2” | E-870 13’ 13.9” | 13 | 2 | 5 | [8 empty] | 13 |  | 13
4 | Jaleswar WL | JED, Jaleswar | Hatigarh | Adia Sahi | N-210 54’ 12.2” | E-870 12’ 56.8” | 12 | 0.5 | 4 | [8 empty] | 12 |  | 12
5 | Jaleswar WL | JED, Jaleswar | Hatigarh | Kuanrpur | N-210 55’ 21.3” | E-870 14’ 26.7” | 12 | 0.5 | 4 | [8 empty] | 12 |  | 12
6 | Jaleswar WL | JED, Jaleswar | Hatigarh | Rajnagar | N-210 57’ 02.2” | E-870 13’ 25.4” | 3 | 0.5 | 2 | [8 empty] | 3 |  | 3
7 | Jaleswar WL | JED, Jaleswar | Hatigarh | Rajnagar | N-210 57’ 28.1” | E-870 13’ 09.5” | 6 | 1 | 3 | [8 empty] | 6 |  | 6
8 | Jaleswar WL | JED, Jaleswar | Hatigarh | Luhapada | N-210 51’ 44.7” | E-870 07’ 06.8” | 15 | 1.5 | 5 | [8 empty] | 15 |  | 15
9 | Jaleswar WL | JED, Jaleswar | Hatigarh | Bakhudipada | N-210 52’ 17.0” | E-870 07’ 38.8” | 3 | 0.4 | 2 | [8 empty] | 3 |  | 3
10 | Jaleswar WL | JED, Jaleswar | Hatigarh | Kusugarh | N-210 53’ 42.9” | E-870 06’ 14.9” | 12 | 2 | 5 | [8 empty] | 12 |  | 12
11 | Jaleswar WL | JED, Jaleswar | Hatigarh | Oparkundi | N-210 53’ 22.6” | E-870 06’ 39.4” | 12 | 2.5 | 6 | [8 empty] | 12 |  | 12
12 | Jaleswar WL | JED, Jaleswar | Hatigarh | Kendukhunta | N-210 52’ 06.0” | E-870 06’ 30.0” | 3 | 0.5 | 2 | [8 empty] | 3 |  | 3
13 | Jaleswar WL | JED, Jaleswar | Hatigarh | Begunia | N-210 54’ 20.5” | E-870 06’ 41.9” | 12 | 2.75 | 7 | [8 empty] | 12 |  | 12
14 | Nilgiri WL | CED, Bls | Mitrapur | Baniagaon | N-210 33’ 35.91” | E-860 46’ 27.84” | 14 | 1.25 | 9 | [8 empty] | 14 | 1 | 14 | 1
15 | Nilgiri WL | CED, Bls | Mitrapur | Sarupal | N-21030’ 37.63” | E-860 47’ 22.46” | 19 | 1 | 12 | [8 empty] | 19 | 1 | 19 | 1 | 1
16 | Nilgiri WL | CED, Bls | Mitrapur | Kendukhunta | N-210 30’ 50.92” | E-870 47’ 31.41” | 16 | 1.5 | 14 | [8 empty] | 16 | 1 | 16
17 | Kuldiha WL | CED, Bls | Berhampur | Ambajhar to Chaindar | N-21028’ 58.7” | E-860 41’ 04.3” | 7 | 2 | 7 | [8 empty] | 7 | 5 | 7 | 1 | 2
18 | Kuldiha WL | CED, Bls | Berhampur | Ambajhar to Hudisahi | N-210 28’ 42.1” | E-860 41’ 23.8” | 6 | 0.5 | 3 | [8 empty] | 6 | 3 | 6
19 | Kuldiha WL | CED, Bls | Berhampur | Kalijhati | N-21028’ 00.7” | E-860 42’ 47.7” | 3 | 1 | 2 | [8 empty] | 3 | 1 | 3
20 | Kuldiha WL | CED, Bls | Berhampur | Rajendrapur to Nuasahi | N-210 28’ 59.2” | E-870 43’ 01.8” | 5 | 0.4 | 2 | [8 empty] | 5 | 2 | 5
21 | Kuldiha WL | CED, Bls | Berhampur | Kanyashram to Tenda | N-210 28’ 39.6” | E-860 42’ 40.2” | 8 | 2 | 3 | [8 empty] | 8 | 2 | 8
22 | Kuldiha WL | SED, Soro | Bahanaga | Malibania | N-210 22’ 50.3” | E-860 42’ 10.4” | 13 | 0.5 | 7 | [8 empty] | 13 |  | 13
23 | Kuldiha WL | SED, Soro | Bahanaga | Mukundapur | N-210 22’ 06.1” | E-860 42’ 10.1” | 8 | 0.3 | 4 | [8 empty] | 8 |  | 8
24 | Kuldiha WL | CED, Bls | Nilgiri | Sunya Mandap to Rajendra Shop | N-210 24’ 37.5” | E-860 43’ 20.3” | 5 | 0.8 | 5 | [7 empty] | 8 | 5 | 4 | 5
25 | Kuldiha WL | CED, Bls | Nilgiri | Mangarh to Harijana Badi | N-210 25’ 02.7” | E-860 44’ 18.1” | 10 | 0.3 | 6 | [7 empty] | 6 | 10 | 5 | 10
26 | Kuldiha WL | CED, Bls | Nilgiri | Junia | N-210 25’ 37.4” | E-860 44’ 21.4” | 6 | 0.5 | 4 | [7 empty] | 5 | 6 | 1 | 6
27 | Kuldiha WL | CED, Bls | Berhampur | Chaindar to Phatapani | N-210 28’ 26.1” | E-860 39’ 59.0” | 5 | 3 | 4 | [7 empty] | 3 | 5 | 2 | 5
28 | Kuldiha WL | CED, Bls | Berhampur | Tiakata to Pathani Chhak | N-210 28’ 11.6” | E-860 40’ 06.3” | 8 | 1 | 3 | [7 empty] | 4 | 8 | 3 | 8
29 | Kuldiha WL | CED, Bls | Berhampur | Pathani Chhak to Balichua | N-210 28’ 44.5” | E-860 39’ 48.0” | 5 | 1 | 2 | [7 empty] | 3 | 5 | 4 | 5
30 | Kuldiha WL | CED, Bls | Berhampur | Chekamara to Ganapati Chhak | N-210 28’ 58.5” | E-860 40’ 32.6” | 6 | 1 | 3 | [7 empty] | 2 | 6 | 2 | 6
31 | Kuldiha WL | CED, Bls | Berhampur | Siadimal to Garadihi | N-210 29’ 17.2” | E-860 40’ 22.1” | 5 | 0.5 | 4 | [7 empty] | 3 | 5 | 2 | 5
32 | Kuldiha WL | CED, Bls | Berhampur | Deuchakhala to Babandh | N-210 27’ 03.5” | E-860 43’ 35.6” | 8 | 0.5 | 5 | [7 empty] | 4 | 8 | 4 | 8
33 | Kuldiha WL | CED, Bls | Berhampur | Sinduria to Sitapatipur | N-210 26’ 53.9” | E-860 44’ 00.7” | 9 | 3 | 6 | [7 empty] | 6 | 9 | 3 | 9
34 | Soro WL | SED, Soro | Soro No.I | Gulunia | N-210,20’,38.7’’ | E- 860 36’,00.1’’ | 6 | 0.25 | 3 | [8 empty] | 6 | 1 | 6
35 | Soro WL | SED, Soro | Soro No.I | Hada | N-210,21’,23.5’’ | E- 860,36’,38.8’’ | 10 | 0.4 | 4 | [8 empty] | 10 |  | 10
36 | Soro WL | SED, Soro | Soro No.I | Patana | N-210,20’,57.2’’ | E- 860,36’,34.8’’ | 3 | 0.1 | 2 | [8 empty] | 3 | 1 | 3
37 | Soro WL | SED, Soro | Soro No.I | Phatamba | N-210,22’,17.8’’ | E- 860,37’,43.0’’ | 5 | 0.2 | 2 | [8 empty] | 5 |  | 5
38 | Soro WL | SED, Soro | Soro No.I | Jatapada | N-210,22’,45.0’’ | E- 860,37’,44.0’’ | 13 | 0.5 | 7 | [8 empty] | 13 |  | 13
39 | Soro WL | SED, Soro | Soro No.I | Uparagada | N-210,22’,45.0’’ | E- 860,37’,22.9’’ | 5 | 0.2 | 2 | [8 empty] | 5 | 1 | 5
40 | Soro WL | SED, Soro | Soro No.I | Nuadahi | N-210,22’,45.0’’ | E- 860,37’,28.0’’ | 13 | 0.5 | 7 | [8 empty] | 13 | 3 | 13
41 | Soro WL | SED, Soro | Oupada | Durgapur | N-210,20’,50.7’’ | E- 860,35’,43.4’’ | [5 empty] | 15 |  |  |  | 0.6 | 8 | 15 |  | 15
42 | Soro WL | SED, Soro | Oupada | Chinchida | N-210,21’,08.7’’ | E- 860,32’,15.0’’ | 5 | 0.2 | 3 | [8 empty] | 5 |  | 5
43 | Soro WL | SED, Soro | Oupada | Sorisapal | N-210,20’,25.4’’ | E- 860,28’,30.2’’ | 5 | 0.2 | 2 | [8 empty] | 5 |  | 5
44 | Soro WL | SED, Soro | Oupada | Rangamatia Uparasahi | N-210,21’,03.2’’ | E- 860,28’,32.8’’ | [5 empty] | 3 |  |  |  | 0.15 | 2 | 3 |  | 3
45 | Soro WL | SED, Soro | Oupada | Majhisahi | N-210,20’,57..4’’ | E- 860,28’,39.1’’ | 4 | 0.15 | 2 | [8 empty] | 4 |  | 4
46 | Soro WL | SED, Soro | Oupada | Rangamatia Bila | N-210,20’,51.2’’ | E- 860,28’,51.3’’ | [5 empty] | 6 |  |  |  | 0.25 | 4 | 6 |  | 6
47 | Soro WL | SED, Soro | Oupada | Kusundaspur | N-210,20’,55.2’’ | E- 860,29’,08.3’’ | 6 | 0.25 | 2 | [8 empty] | 6 |  | 6
48 | Soro WL | SED, Soro | Oupada | Atasahi | N-210,21’29.8’’ | N-210,21’,22.7’’ | 5 | 0.2 | 2 | [8 empty] | 5 |  | 5
49 | Soro WL |  |  |  | E-860,29’,21.6’’ | E- 860,29’,22.6’’
50 | Soro WL | SED, Soro | Oupada | Bharadabhati | N-210,21’,39.3’’ | E- 860,29’,16.1’’ | 9 | 0.35 | 4 | [8 empty] | 9 |  | 9
51 | Soro WL | SED, Soro | Oupada | Gadasahi | N-210,21’,50.6’’ | E- 860,29’,23.9’’ | 5 | 0.2 | 2 | [8 empty] | 5 |  | 5
52 | Soro WL | SED, Soro | Oupada | Gadasahi School | N-210,21’,53.1’’ | E- 860,29’,29.6’’ | [5 empty] | 4 |  |  |  | 0.2 | 2 | 4 |  | 4
53 | Soro WL | SED, Soro | Oupada | Gadasahi | N-210,21’,40.1’’ | E- 860,29’,28.1’’ | 9 | 0.35 | 4 | [8 empty] | 9 |  | 9
54 | Soro WL | SED, Soro | Oupada | Majhisahi | N-210,21’,22.7’’ | E- 860,30’,02.1’’ | 6 | 0.25 | 2 | [8 empty] | 6 |  | 6
55 | Soro WL | SED, Soro | Oupada | Patharpada | N-210,21’,19.6’’ | E- 860,30’,08.8’’ | 8 | 0.3 | 4 | [8 empty] | 8 |  | 8
56 | Soro WL | SED, Soro | Oupada | Chatirsahi | N-210,20’,21.4’’ | E- 860,30’,43.6’’ | 10 | 0.4 | 6 | [8 empty] | 10 |  | 10
57 | Soro WL | SED, Soro | Oupada | Sriramkhunta | N-210,21’,18.5’’ | E- 860,30’,23.9’’ | 9 | 0.35 | 4 | [8 empty] | 9 |  | 9
[5 empty] | 0 | 0 | 431 | 46.35 | 227 | 0 | 0 | 28 | 0 | 0 | 0 | 1.2 | 60 | 459 | 52 | 459 | 3 | 3