## Sheet1
Tender No | TPNODL/OT/2021-22/067
Package Name | Rate Contract for Networking Devices for SCADA
Note : | The said format to be used only for any Pre-bid Query / Clarifiaction/ Deviation on any of the Tender documents
Sr. No. | Detailed Reference to concerned Document . Please specify Document No / Clause No / Page No | Description as per Bid Document | Query / Clarification / Deviation | TPNODL Response
1 | 2 | 3 | 4 | 5
1 | TPNODL/OT/2021-22/067/Annexure II/Technical Specification/DC Routere/Point 28/Page No. 23 | Router should support Intrusion Prevention System feature. | No, reviced and remove. | RFP Stands final, it is a basic feature
2 | TPNODL/OT/2021-22/067/Point 7- Post Award Contract Administration /Point 7.3- Delivery Terms/Page No. 14 | The material shall be delivered within 6 weeks from issue of release order against the Rate contract. | Amend Delivery Time to 8-10 weeks as because of Covid delivery is getting impacted. | RFP Stands final
3 | RFP Page No.-6 1.7 Qualification Criteria | 1.7.2 The bidder should have average annual turnover of minimum of Rs. 1.5 Crores in last three financial years. Copy of audited Balance Sheet and P&L Account to be submitted in this regard. | We request TPNODL to kindly allow the compliance basis the documentary evidence from the Bidder OR Bidder’s Parent Company (in case the Bidder is a wholly owned subsidiary of Parent Company). Please confirm the acceptance of our request. | RFP stands final
4 | RFP Page No.-6 1.7 Qualification Criteria | 1.7.3 Bidder should be a company registered in India with an office in Orissa. Bidder should submit the undertaking and details of address in this regard. | We request TPNODL to kindly allow the compliance basis the documentary evidence from the Bidder OR Bidder’s Parent Company (in case the Bidder is a wholly owned subsidiary of Parent Company). Please confirm the acceptance of our request. | RFP stands final
5 | RFP Page No.-6 1.7 Qualification Criteria | 1.7.4 The bidder should have executed similar Networking related works for cumulative Rs. 2 Cr. during last 3 years. Copy of work order / completion certificate to be submitted in this regard. | 1. We request TPNODL to kindly allow the compliance basis the documentary evidence from the Bidder OR Bidder’s Parent Company (in case the Bidder is a wholly owned subsidiary of Parent Company). 2. To promote wider participation we would request TPNODL to kindly amend the clause and allow relevant project experience during last 5 financial years. Please confirm the acceptance of our requests. | RFP stands final
6 | RFP Page No.-18 ANNEXURE I: Schedule for Items/Quantity | Different location sites for supply, installation, testing and commissioning will be shared by TPNODL with the successful bidder. | We would request TPNODL to kindly share the location list to have an understanding of the effort required for supplying, installing and supporting the devices. | SITC will be done in different office locations scattered in 5 districts - Balasore, Mayurbhanj, Bhadrak, Keonjhar & Jajpur
7 | RFP Page No.-13 4.7 Reverse Auctions | TPNODL reserves the right to conduct the reverse auction (instead of public opening of price bids) for the products / services being asked for in the tender and reserves the rights to conduct the manual negotiation with the BA who is declared L1 after Reverse Auction. | We would request TPNODL to confirm if RA would be conducted or not so that the Bidder can qoute accordingly. | RA is a ongoing procedure of tender activity. Whether shall be conducted or not is management's decision.
8 | RFP Page No.-13 5 Award Decision | TPNODL reserves all the rights to award the contract to one or more bidders so as to meet the requirement or nullify the award decision without assigning any reason thereof. | To source the best rate from the OEMs a prospective Bidder has to confirm the volume of order anticipated. So we would request TPNODL to confirm that the entire order would be awarded to the L1 Bidder. | RFP stands final